## Solaredge
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Solaredge | SE3k | razsmernik | A,B | NNO
Solaredge | SE4k | razsmernik | A,B | NNO
Solaredge | SE5k | razsmernik | A,B | NNO
Solaredge | SE6k | razsmernik | A,B | NNO
Solaredge | SE7k | razsmernik | A,B | NNO
Solaredge | SE8k | razsmernik | A,B | NNO
Solaredge | SE9k | razsmernik | A,B | NNO
Solaredge | SE10k | razsmernik | A,B | NNO
Solaredge | SE5k-RWS | hibridni razsmernik | A,B | NNO
Solaredge | SE7k-RWS | hibridni razsmernik | A,B | NNO
Solaredge | SE8k-RWS | hibridni razsmernik | A,B | NNO
Solaredge | SE10k-RWS | hibridni razsmernik | A,B | NNO
Solaredge | SE12,5k | razsmernik | A,B | NNO
Solaredge | SE15k | razsmernik | A,B | NNO
Solaredge | SE16k | razsmernik | A,B | NNO
Solaredge | SE17k | razsmernik | A,B | NNO
Solaredge | SE25k | razsmernik | A,B | NNO
Solaredge | SE27,6k | razsmernik | A,B | NNO
Solaredge | SE30k | razsmernik | A,B | NNO
Solaredge | SE33,3k | razsmernik | A,B | NNO
Solaredge | SE40k | razsmernik | A,B | NNO
Solaredge | SE2200H | razsmernik | A | NNO
Solaredge | SE3000H | razsmernik | A | NNO
Solaredge | SE3500H | razsmernik | A | NNO
Solaredge | SE3680H | razsmernik | A | NNO
Solaredge | SE4000H | razsmernik | A | NNO
Solaredge | SE5000H | razsmernik | A | NNO
Solaredge | SE6000H | razsmernik | A | NNO
Solaredge | SE50k | razsmernik | A,B | NNO
Solaredge | SE55k | razsmernik | A,B | NNO
Solaredge | SE66,6k | razsmernik | A,B | NNO
Solaredge | SE82,8k | razsmernik | A,B | NNO
Solaredge | SE100k | razsmernik | A,B | NNO
Solaredge | SE90k | razsmernik | A,B | NNO
Solaredge | SE20k | razsmernik | A,B | NNO
Solaredge | SE5k-RWB48 | hibridni razsmernik | A | NNO
Solaredge | SE7k-RWB48 | hibridni razsmernik | A | NNO
Solaredge | SE8k-RWB48 | hibridni razsmernik | A | NNO
Solaredge | SE10k-RWB48 | hibridni razsmernik | A | NNO

## Jiangsu Goodwe
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Jiangsu Goodwe | GW4K-DT | razsmernik | A | NNO
Jiangsu Goodwe | GW5K-DT | razsmernik | A | NNO
Jiangsu Goodwe | GW6K-DT | razsmernik | A | NNO
Jiangsu Goodwe | GW8K-DT | razsmernik | A | NNO
Jiangsu Goodwe | GW10KT-DT | razsmernik | A | NNO
Jiangsu Goodwe | GW12KT-DT | razsmernik | A | NNO
Jiangsu Goodwe | GW15KT-DT | razsmernik | A | NNO
Jiangsu Goodwe | GW20KT-DT | razsmernik | A | NNO
Goodwe Technologies | GW5K-ET | hibridni razsmernik | A | NNO
Goodwe Technologies | GW6.5K-ET | hibridni razsmernik | A | NNO
Goodwe Technologies | GW8K-ET | hibridni razsmernik | A | NNO
Goodwe Technologies | GW10K-ET | hibridni razsmernik | A | NNO
Goodwe Technologies | GW5KN-ET | hibridni razsmernik | A | NNO
Goodwe Technologies | GW6.5KN-ET | hibridni razsmernik | A | NNO
Goodwe Technologies | GW8KN-ET | hibridni razsmernik | A | NNO
Goodwe Technologies | GW10KN-ET | hibridni razsmernik | A | NNO
Goodwe Technologies | GW15K-ET | hibridni razsmernik | A | NNO
Goodwe Technologies | GW20K-ET | hibridni razsmernik | A | NNO
Goodwe Technologies | GW25K-ET | hibridni razsmernik | A | NNO
Goodwe Technologies | GW29.9K-ET | hibridni razsmernik | A | NNO
Goodwe Technologies | GW30K-ET | hibridni razsmernik | A | NNO
Goodwe Technologies | GW17KT-DT | razsmernik | A | NNO
Goodwe Technology | GW25K-MT | razsmernik | A | NNO
Goodwe Technology | GW30K-MT | razsmernik | A | NNO
Goodwe Technology | GW36K-MT | razsmernik | A | NNO

## SMA
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
SMA | STP3.0-3AV-40 | razsmernik | A | NNO
SMA | STP4.0-3AV-40 | razsmernik | A | NNO
SMA | STP5.0-3AV-40 | razsmernik | A | NNO
SMA | STP6.0-3AV-40 | razsmernik | A | NNO
SMA | STP8.0-3AV-40 | razsmernik | A | NNO
SMA | STP10.0-3AV-40 | razsmernik | A | NNO
SMA | STP 15000TL-30 | razsmernik | A | NNO
SMA | STP 17000TL-30 | razsmernik | A | NNO
SMA | STP 20000TL-30 | razsmernik | A | NNO
SMA | STP 25000TL-30 | razsmernik | A | NNO
SMA | SB1.5-1VL-40 | razsmernik | A | NNO
SMA | SB2.0-1VL-40 | razsmernik | A | NNO
SMA | SB2.5-1VL-40 | razsmernik | A | NNO
SMA | SB3.0-1VL-41 | razsmernik | A | NNO
SMA | SB3.6-1VL-41 | razsmernik | A | NNO
SMA | SB4.0-1VL-41 | razsmernik | A | NNO
SMA | SB5.0-1VL-41 | razsmernik | A | NNO
SMA | SB6.0-1VL-41 | razsmernik | A | NNO
SMA | STP 110-60 | razsmernik | A,B | NNO, SNO
SMA | STP 50-40 | razsmernik | A | NNO
SMA | STP 50-41 | razsmernik | A | NNO
SMA | SBS 3,7-10 | hibridni razsmernik | A | NNO
SMA | SBS 5-10 | hibridni razsmernik | A | NNO
SMA | SBS 6-10 | hibridni razsmernik | A | NNO
SMA | STP 12-50 | razsmernik | A | NNO
SMA | STP 15-50 | razsmernik | A | NNO
SMA | STP 20-50 | razsmernik | A | NNO
SMA | STP 25-50 | razsmernik | A | NNO
SMA | SI4.4M-13 | hibridni razsmernik | A | NNO
SMA | SI6.0H-13 | hibridni razsmernik | A | NNO
SMA | SI8.0H-13 | hibridni razsmernik | A | NNO
SMA | STPS30-20 | inverter za HEE | A | NNO
SMA | STPS50-20 | inverter za HEE | A | NNO
SMA | SI30-20 | inverter za HEE | A | NNO
SMA | SI50-20 | inverter za HEE | A | NNO
SMA | SCS 1900-10 | hibridni razsmernik | B | SNO
SMA | SCS 2200-10 | hibridni razsmernik | B | SNO
SMA | SCS 2475-10 | hibridni razsmernik | B | SNO
SMA | SCS 2900-10 | hibridni razsmernik | B | SNO
SMA | SCS 3450 UP | hibridni razsmernik | B | SNO
SMA | SCS 3600 UP | hibridni razsmernik | B | SNO
SMA | SCS 3800 UP | hibridni razsmernik | B | SNO
SMA | SCS 3950 UP | hibridni razsmernik | B | SNO
SMA | SCS 2300 UP-XT | hibridni razsmernik | B | SNO
SMA | SCS 2400 UP-XT | hibridni razsmernik | B | SNO
SMA | SCS 2530 UP-XT | hibridni razsmernik | B | SNO
SMA | SCS 26300 UP-XT | hibridni razsmernik | B | SNO
SMA | SCS 3450 UP-XT | hibridni razsmernik | B | SNO
SMA | SCS 3600 UP-XT | hibridni razsmernik | B | SNO
SMA | SCS 3800 UP-XT | hibridni razsmernik | B | SNO
SMA | SCS 3950 UP-XT | hibridni razsmernik | B | SNO
SMA | STP5.0-3SE-40 | hibridni razsmernik | A | NNO
SMA | STP6.0-3SE-40 | hibridni razsmernik | A | NNO
SMA | STP8.0-3SE-40 | hibridni razsmernik | A | NNO
SMA | STP10.0-3SE-40 | hibridni razsmernik | A | NNO

## NGEN Tesla
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Tesla | Powerwall #1092170 | HEE | A | NNO
Tesla | Powerwall #2012170 | HEE | A | NNO
Tesla | Powerwall #3012170 | HEE | A | NNO
Tesla | Powerstage #1134768 | inverter za HEE | A, B | NNO, SNO

## Huawei
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Huawei | SUN2000-3KTL-M0 | hibridni razsmernik | A | NNO
Huawei | SUN2000-4KTL-M0 | hibridni razsmernik | A | NNO
Huawei | SUN2000-5KTL-M0 | hibridni razsmernik | A | NNO
Huawei | SUN2000-6KTL-M0 | hibridni razsmernik | A | NNO
Huawei | SUN2000-8KTL-M0 | hibridni razsmernik | A | NNO
Huawei | SUN2000-10KTL-M0 | hibridni razsmernik | A | NNO
Huawei | SUN2000-3KTL-M1 | hibridni razsmernik | A | NNO
Huawei | SUN2000-4KTL-M1 | hibridni razsmernik | A | NNO
Huawei | SUN2000-5KTL-M1 | hibridni razsmernik | A | NNO
Huawei | SUN2000-6KTL-M1 | hibridni razsmernik | A | NNO
Huawei | SUN2000-8KTL-M1 | hibridni razsmernik | A | NNO
Huawei | SUN2000-10KTL-M1 | hibridni razsmernik | A | NNO
Huawei | SUN2000-12KTL-M0 | razsmernik | A | NNO
Huawei | SUN2000-15KTL-M0 | razsmernik | A | NNO
Huawei | SUN2000-17KTL-M0 | razsmernik | A | NNO
Huawei | SUN2000-20KTL-M0 | razsmernik | A | NNO
Huawei | SUN2000-8KTL-M2 | razsmernik | A | NNO
Huawei | SUN2000-10KTL-M2 | razsmernik | A | NNO
Huawei | SUN2000-12KTL-M2 | razsmernik | A | NNO
Huawei | SUN2000-15KTL-M2 | razsmernik | A | NNO
Huawei | SUN2000-17KTL-M2 | razsmernik | A | NNO
Huawei | SUN2000-20KTL-M2 | razsmernik | A | NNO
Huawei | SUN2000-100KTL-M1 | razsmernik | A,B | NNO, SNO
Huawei | SUN2000-30KTL-M3 | razsmernik | A,B | NNO, SNO
Huawei | SUN2000-36KTL-M3 | razsmernik | A,B | NNO, SNO
Huawei | SUN2000-40KTL-M3 | razsmernik | A,B | NNO, SNO
Huawei | SUN2000-168KTL-H1 | razsmernik | B | SNO
Huawei | SUN2000-185KTL-H1 | razsmernik | B | SNO
Huawei | SUN2000-215KTL-H0 | razsmernik | B | SNO
Huawei | SUN2000-2KTL-L1 | hibridni razsmernik | A | NNO
Huawei | SUN2000-3KTL-L1 | hibridni razsmernik | A | NNO
Huawei | SUN2000-3.68KTL-L1 | hibridni razsmernik | A | NNO
Huawei | SUN2000-4KTL-L1 | hibridni razsmernik | A | NNO
Huawei | SUN2000-4.6KTL-L1 | hibridni razsmernik | A | NNO
Huawei | SUN2000-5KTL-L1 | hibridni razsmernik | A | NNO
Huawei | SUN2000-6KTL-L1 | hibridni razsmernik | A | NNO
Huawei | SUN2000-50KTL-M0 | razsmernik | A,B | NNO
Huawei | SUN2000-60KTL-M0 | razsmernik | A,B | NNO
Huawei | SUN2000-50KTL-M0 | razsmernik | A,B | NNO, SNO
Huawei | SUN2000-60KTL-M0 | razsmernik | A,B | NNO, SNO
Huawei | SUN2000-50KTL-M3 | razsmernik | A,B | NNO
Huawei | SUN2000-12KTL-M5 | razsmernik | A | NNO
Huawei | SUN2000-15KTL-M5 | razsmernik | A | NNO
Huawei | SUN2000-17KTL-M5 | razsmernik | A | NNO
Huawei | SUN2000-20KTL-M5 | razsmernik | A | NNO
Huawei | SUN2000-25KTL-M5 | razsmernik | A | NNO
Huawei | SUN2000-100KTL-M2 | razsmernik | A,B | NNO
Huawei | SUN2000-115KTL-M2 | razsmernik | A,B | NNO

## Hoymiles
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Hoymiles | HMS-300-1T | mikrorazsmernik | A | NNO
Hoymiles | HMS-350-1T | mikrorazsmernik | A | NNO
Hoymiles | HMS-400-1T | mikrorazsmernik | A | NNO
Hoymiles | HMS-600-2T | mikrorazsmernik | A | NNO
Hoymiles | HMS-700-2T | mikrorazsmernik | A | NNO
Hoymiles | HMS-800-2T | mikrorazsmernik | A | NNO
Hoymiles | HMS-1000-4T | mikrorazsmernik | A | NNO
Hoymiles | HMS-1200-4T | mikrorazsmernik | A | NNO
Hoymiles | HMS-1500-4T | mikrorazsmernik | A | NNO
Hoymiles | HM-300 | mikrorazsmernik | A | NNO
Hoymiles | HM-350 | mikrorazsmernik | A | NNO
Hoymiles | HM-400 | mikrorazsmernik | A | NNO
Hoymiles | HM-600 | mikrorazsmernik | A | NNO
Hoymiles | HM-700 | mikrorazsmernik | A | NNO
Hoymiles | HM-800 | mikrorazsmernik | A | NNO
Hoymiles | HM-1000 | mikrorazsmernik | A | NNO
Hoymiles | HM-1200 | mikrorazsmernik | A | NNO
Hoymiles | HM-1500 | mikrorazsmernik | A | NNO
Hoymiles | HMT-1800-6T | mikrorazsmernik | A | NNO
Hoymiles | HMT-2250-6T | mikrorazsmernik | A | NNO
Hoymiles | HMS-2000-4T | mikrorazsmernik | A | NNO
Hoymiles | HMS-450-1T | mikrorazsmernik | A | NNO
Hoymiles | HMS-600-2T | mikrorazsmernik | A | NNO
Hoymiles | HMS-700-2T | mikrorazsmernik | A | NNO
Hoymiles | HMS-800-2T | mikrorazsmernik | A | NNO
Hoymiles | HMS-1600-4T | mikrorazsmernik | A | NNO
Hoymiles | HMS-1800-4T | mikrorazsmernik | A | NNO
Hoymiles | HMS-2000-4T | mikrorazsmernik | A | NNO
Hoymiles | HMT-1600-4T | mikrorazsmernik | A | NNO
Hoymiles | HMT-1800-4T | mikrorazsmernik | A | NNO
Hoymiles | HMT-2000-4T | mikrorazsmernik | A | NNO
Hoymiles | HAS-3.0LV-EUG1 | razsmernik | A | NNO
Hoymiles | HAS-3.6LV-EUG1 | razsmernik | A | NNO
Hoymiles | HAS-4.6LV-EUG1 | razsmernik | A | NNO
Hoymiles | HAS-5.0LV-EUG1 | razsmernik | A | NNO
Hoymiles | HAT-5.0HV-EUG1 | razsmernik | A | NNO
Hoymiles | HAT-6.0HV-EUG2 | razsmernik | A | NNO
Hoymiles | HAT-8.0HV-EUG3 | razsmernik | A | NNO
Hoymiles | HAT-10.0HV-EUG4 | razsmernik | A | NNO
Hoymiles | HYS-3.0LV-EUG1 | hibridni razsmernik | A | NNO
Hoymiles | HYS-3.6LV-EUG1 | hibridni razsmernik | A | NNO
Hoymiles | HYS-4.6LV-EUG1 | hibridni razsmernik | A | NNO
Hoymiles | HYS-5.0LV-EUG1 | hibridni razsmernik | A | NNO
Hoymiles | HYS-6.0LV-EUG1 | hibridni razsmernik | A | NNO
Hoymiles | HYT-5.0HV-EUG1 | hibridni razsmernik | A | NNO
Hoymiles | HYT-6.0HV-EUG1 | hibridni razsmernik | A | NNO
Hoymiles | HYT-8.0HV-EUG1 | hibridni razsmernik | A | NNO
Hoymiles | HYT-10.0HV-EUG1 | hibridni razsmernik | A | NNO
Hoymiles | HYT-12.0HV-EUG1 | hibridni razsmernik | A | NNO

## KACO
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
KACO | Blueplanet 3.0 TL3 M2 WM OD IIG0 | razsmernik | A | NNO
KACO | Blueplanet 4.0 TL3 M2 WM OD IIG0 | razsmernik | A | NNO
KACO | Blueplanet 5.0 TL3 M2 WM OD IIG0 | razsmernik | A | NNO
KACO | Blueplanet 6.5 TL3 M2 WM OD IIG0 | razsmernik | A | NNO
KACO | Blueplanet 7.5 TL3 M2 WM OD IIG0 | razsmernik | A | NNO
KACO | Blueplanet 8.6 TL3 M2 WM OD IIG0 | razsmernik | A | NNO
KACO | Blueplanet 9.0 TL3 M2 WM OD IIG0 | razsmernik | A | NNO
KACO | Blueplanet 10.0 TL3 M2 WM OD IIG0 | razsmernik | A | NNO
KACO | Blueplanet 15.0 TL3 M2 WM OD IIG0 | razsmernik | A | NNO
KACO | Blueplanet 20.0 TL3 M2 WM OD IIG0 | razsmernik | A | NNO
KACO | Blueplanet 3.0 NX1 M2 WM OD II90 | razsmernik | A | NNO
KACO | Blueplanet 3.7 NX1 M2 WM OD II90 | razsmernik | A | NNO
KACO | Blueplanet 4.0 NX1 M2 WM OD II90 | razsmernik | A | NNO
KACO | Blueplanet 5.0 NX1 M2 WM OD II90 | razsmernik | A | NNO
KACO | Blueplanet 3.0 NX3 M2 WM OD II90 | razsmernik | A | NNO
KACO | Blueplanet 5.0 NX3 M2 WM OD II90 | razsmernik | A | NNO
KACO | Blueplanet 8.0 NX3 M2 WM OD II90 | razsmernik | A | NNO
KACO | Blueplanet 10.0 NX3 M2 WM OD II90 | razsmernik | A | NNO
KACO | Blueplanet 15.0 NX3 M2 WM OD II90 | razsmernik | A | NNO
KACO | Blueplanet 20.0 NX3 M2 WM OD II90 | razsmernik | A | NNO
KACO | Blueplanet GS 92.0 TL3-S B1 WM OD IIGM | hibridni razsmernik | A, B | NNO, SNO
KACO | Blueplanet GS 92.0 TL3-S B1 WM OD IIGL | hibridni razsmernik | A, B | NNO, SNO
KACO | Blueplanet GS 92.0 TL3-S B1 WM OD IIGX | hibridni razsmernik | A, B | NNO, SNO
KACO | Blueplanet GS 110.0 TL3-S B1 WM OD IIGM | hibridni razsmernik | A, B | NNO, SNO
KACO | Blueplanet GS 110.0 TL3-S B1 WM OD IIGL | hibridni razsmernik | A, B | NNO, SNO
KACO | Blueplanet GS 110.0 TL3-S B1 WM OD IIGX | hibridni razsmernik | A, B | NNO, SNO
KACO | Blueplanet GS 137.0 TL3-S B1 WM OD IIGM | hibridni razsmernik | A, B | NNO, SNO
KACO | Blueplanet GS 137.0 TL3-S B1 WM OD IIGL | hibridni razsmernik | A, B | NNO, SNO
KACO | Blueplanet GS 137.0 TL3-S B1 WM OD IIGX | hibridni razsmernik | A, B | NNO, SNO
KACO | Blueplanet 87.0 TL3 M1 WM OD IIF0 | razsmernik | A, B | NNO, SNO
KACO | Blueplanet 87.0 TL3 M1 WM OD IIFX | razsmernik | A, B | NNO, SNO
KACO | Blueplanet 92.0 TL3 M1 WM OD IIG0 | razsmernik | A, B | NNO, SNO
KACO | Blueplanet 92.0 TL3 M1 WM OD IIGX | razsmernik | A, B | NNO, SNO
KACO | Blueplanet 105.0 TL3 M1 WM OD IIG0 | razsmernik | A, B | NNO, SNO
KACO | Blueplanet 105.0 TL3 M1 WM OD IIGX | razsmernik | A, B | NNO, SNO
KACO | Blueplanet 110.0 TL3 M1 WM OD IIK0 | razsmernik | A, B | NNO, SNO
KACO | Blueplanet 110.0 TL3 M1 WM OD IIKX | razsmernik | A, B | NNO, SNO
KACO | Blueplanet 125.0 TL3 M1 WM OD IIP0 | razsmernik | A, B | NNO, SNO
KACO | Blueplanet 125.0 TL3 M1 WM OD IIPX | razsmernik | A, B | NNO, SNO
KACO | Blueplanet 125.0 TL3 M1 WM OD IIK0 | razsmernik | A, B | NNO, SNO
KACO | Blueplanet 125.0 TL3 M1 WM OD IIKX | razsmernik | A, B | NNO, SNO
KACO | Blueplanet 137.0 TL3 M1 WM OD IIP0 | razsmernik | A, B | NNO, SNO
KACO | Blueplanet 137.0 TL3 M1 WM OD IIPX | razsmernik | A, B | NNO, SNO
KACO | Blueplanet 150.0 TL3 M1 WM OD IIQ0 | razsmernik | A, B | NNO, SNO
KACO | Blueplanet 150.0 TL3 M1 WM OD IIQX | razsmernik | A, B | NNO, SNO
KACO | Blueplanet 155.0 TL3 M1 WM OD IIP0 | razsmernik | A, B | NNO, SNO
KACO | Blueplanet 155.0 TL3 M1 WM OD IIPX | razsmernik | A, B | NNO, SNO
KACO | Blueplanet 165.0 TL3 M1 WM OD IIQ0 | razsmernik | A, B | NNO, SNO
KACO | Blueplanet 165.0 TL3 M1 WM OD IIQX | razsmernik | A, B | NNO, SNO

## Ningbo Austa
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Ningbo Austa | Austa-3P4K1G | razsmernik | A,B | NNO
Ningbo Austa | Austa-3P5K1G | razsmernik | A,B | NNO
Ningbo Austa | Austa-3P6K1G | razsmernik | A,B | NNO
Ningbo Austa | Austa-3P7K1G | razsmernik | A,B | NNO
Ningbo Austa | Austa-3P8K1G | razsmernik | A,B | NNO
Ningbo Austa | Austa-3P10K1G | razsmernik | A,B | NNO
Ningbo Austa | Austa-3P12K1G | razsmernik | A,B | NNO
Ningbo Austa | Austa-3P15K1G | razsmernik | A,B | NNO
Ningbo Austa | AU-3P5K1G-LE-EU | hibridni razsmernik | A | NNO
Ningbo Austa | AU-3P6K1G-LE-EU | hibridni razsmernik | A | NNO
Ningbo Austa | AU-3P8K1G-LE-EU | hibridni razsmernik | A | NNO
Ningbo Austa | AU-3P10K1G-LE-EU | hibridni razsmernik | A | NNO
Ningbo Austa | AU-3P12K1G-LE-EU | hibridni razsmernik | A | NNO
Ningbo Austa | AU-3P18K1G | razsmernik | A,B | NNO
Ningbo Austa | AU-3P20K1G | razsmernik | A,B | NNO
Ningbo Austa | AU-3P25K1G | razsmernik | A,B | NNO
Ningbo Austa | AU-3P30K1G | razsmernik | A,B | NNO
Ningbo Austa | AU-3P33K1G | razsmernik | A,B | NNO
Ningbo Austa | AU-3P35K1G | razsmernik | A,B | NNO
Ningbo Austa | AU-3P36K1G | razsmernik | A,B | NNO
Ningbo Austa | AU-3P40K1G | razsmernik | A,B | NNO
Ningbo Austa | AU-3P50K1G | razsmernik | A,B | NNO
Ningbo Austa | AU-3P60K1G | razsmernik | A,B | NNO
Ningbo Austa | AU-3P70K1G | razsmernik | A,B | NNO
Ningbo Austa | AU-3P75K1G | razsmernik | A,B | NNO
Ningbo Austa | AU-3P80K1G | razsmernik | A,B | NNO
Ningbo Austa | AU-3P90K1G | razsmernik | A,B | NNO
Ningbo Austa | AU-3P100K1G | razsmernik | A,B | NNO
Ningbo Austa | AU-3P110K1G | razsmernik | A,B | NNO

## SolaX
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
SolaX Power Network Technology | X3-8.0P-T-N | razsmernik | A | NNO
SolaX Power Network Technology | X3-10.0P-T-N | razsmernik | A | NNO
SolaX Power Network Technology | X3-12.0P-T-N | razsmernik | A | NNO
SolaX Power Network Technology | X3-15.0P-T-N | razsmernik | A | NNO
SolaX Power Network Technology | X3-8.0P-T-D | razsmernik | A | NNO
SolaX Power Network Technology | X3-10.0P-T-D | razsmernik | A | NNO
SolaX Power Network Technology | X3-12.0P-T-D | razsmernik | A | NNO
SolaX Power Network Technology | X3-15.0P-T-D | razsmernik | A | NNO
SolaX Power Network Technology | X3-HYBRID-5.0-D | hibridni razsmernik | A | NNO
SolaX Power Network Technology | X3-HYBRID-5.0-M | hibridni razsmernik | A | NNO
SolaX Power Network Technology | X3-HYBRID-6.0-D | hibridni razsmernik | A | NNO
SolaX Power Network Technology | X3-HYBRID-6.0-M | hibridni razsmernik | A | NNO
SolaX Power Network Technology | X3-HYBRID-8.0-D | hibridni razsmernik | A | NNO
SolaX Power Network Technology | X3-HYBRID-8.0-M | hibridni razsmernik | A | NNO
SolaX Power Network Technology | X3-HYBRID-10.0-D | hibridni razsmernik | A | NNO
SolaX Power Network Technology | X3-HYBRID-10.0-M | hibridni razsmernik | A | NNO
SolaX Power Network Technology | X3-HYBRID-12.0-D | hibridni razsmernik | A | NNO
SolaX Power Network Technology | X3-HYBRID-12.0-M | hibridni razsmernik | A | NNO
SolaX Power Network Technology | X3-HYBRID-15.0-D | hibridni razsmernik | A | NNO
SolaX Power Network Technology | X3-HYBRID-15.0-M | hibridni razsmernik | A | NNO
SolaX Power Network Technology | X3-MIC-3K-G2 | razsmernik | A | NNO
SolaX Power Network Technology | X3-MIC-4K-G2 | razsmernik | A | NNO
SolaX Power Network Technology | X3-MIC-5K-G2 | razsmernik | A | NNO
SolaX Power Network Technology | X3-MIC-6K-G2 | razsmernik | A | NNO
SolaX Power Network Technology | X3-MIC-8K-G2 | razsmernik | A | NNO
SolaX Power Network Technology | X3-MIC-10K-G2 | razsmernik | A | NNO
SolaX Power Network Technology | X3-MIC-12K-G2 | razsmernik | A | NNO
SolaX Power Network Technology | X3-MIC-15K-G2 | razsmernik | A | NNO
SolaX Power Network Technology | X3-PRO-8K-G2 | razsmernik | A | NNO
SolaX Power Network Technology | X3-PRO-10K-G2 | razsmernik | A | NNO
SolaX Power Network Technology | X3-PRO-12K-G2 | razsmernik | A | NNO
SolaX Power Network Technology | X3-PRO-15K-G2 | razsmernik | A | NNO
SolaX Power Network Technology | X3-PRO-17K-G2 | razsmernik | A | NNO
SolaX Power Network Technology | X3-PRO-20K-G2 | razsmernik | A | NNO
SolaX Power Network Technology | X3-PRO-25K-G2 | razsmernik | A | NNO
SolaX Power Network Technology | X3-PRO-30K-G2 | razsmernik | A | NNO
SolaX Power Network Technology | X3-MGA-40K-G2 | razsmernik | A, B | NNO
SolaX Power Network Technology | X3-MGA-50K-G2 | razsmernik | A, B | NNO
SolaX Power Network Technology | X3-MGA-60K-G2 | razsmernik | A, B | NNO
SolaX Power Network Technology | X3-FTH-80K | razsmernik | A, B | NNO
SolaX Power Network Technology | X3-FTH-100K | razsmernik | A, B | NNO
SolaX Power Network Technology | X3-FTH-110K | razsmernik | A, B | NNO
SolaX Power Network Technology | X3-FTH-120K | razsmernik | A, B | NNO
SolaX Power Network Technology | X3-FTH-125K | razsmernik | A, B | NNO
SolaX Power Network Technology | Q.VOLT HYB-G3 3.0 1P | hibridni razsmernik | A | NNO
SolaX Power Network Technology | Q.VOLT HYB-G3 3.7 1P | hibridni razsmernik | A | NNO
SolaX Power Network Technology | Q.VOLT HYB-G3 5.0 1P | hibridni razsmernik | A | NNO
SolaX Power Network Technology | Q.VOLT HYB-G3 6.0 1P | hibridni razsmernik | A | NNO
SolaX Power Network Technology | Q.VOLT HYB-G3 7.5 1P | hibridni razsmernik | A | NNO
SolaX Power Network Technology | Q.VOLT HYB-G3 3.0 1P-D | hibridni razsmernik | A | NNO
SolaX Power Network Technology | Q.VOLT HYB-G3 3.7 1P-D | hibridni razsmernik | A | NNO
SolaX Power Network Technology | Q.VOLT HYB-G3 5.0 1P-D | hibridni razsmernik | A | NNO
SolaX Power Network Technology | Q.VOLT HYB-G3 6.0 1P-D | hibridni razsmernik | A | NNO
SolaX Power Network Technology | Q.VOLT HYB-G3 7.5 1P-D | hibridni razsmernik | A | NNO
SolaX Power Network Technology | Q.VOLT HYB-G3 5.0 3P | hibridni razsmernik | A | NNO
SolaX Power Network Technology | Q.VOLT HYB-G3 6.0 3P | hibridni razsmernik | A | NNO
SolaX Power Network Technology | Q.VOLT HYB-G3 8.0 3P | hibridni razsmernik | A | NNO
SolaX Power Network Technology | Q.VOLT HYB-G3 10.0 3P | hibridni razsmernik | A | NNO
SolaX Power Network Technology | Q.VOLT HYB-G3 12.0 3P | hibridni razsmernik | A | NNO
SolaX Power Network Technology | Q.VOLT HYB-G3 15.0 3P | hibridni razsmernik | A | NNO
SolaX Power Network Technology | Q.VOLT HYB-G3 5.0 3P-D | hibridni razsmernik | A | NNO
SolaX Power Network Technology | Q.VOLT HYB-G3 6.0 3P-D | hibridni razsmernik | A | NNO
SolaX Power Network Technology | Q.VOLT HYB-G3 8.0 3P-D | hibridni razsmernik | A | NNO
SolaX Power Network Technology | Q.VOLT HYB-G3 10.0 3P-D | hibridni razsmernik | A | NNO
SolaX Power Network Technology | Q.VOLT HYB-G3 12.0 3P-D | hibridni razsmernik | A | NNO
SolaX Power Network Technology | Q.VOLT HYB-G3 15.0 3P-D | hibridni razsmernik | A | NNO

## Guangzhou Sanjing
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Guangzhou Sanjing | R5-3K-T2 | razsmernik | A | NNO
Guangzhou Sanjing | R5-4K-T2 | razsmernik | A | NNO
Guangzhou Sanjing | R5-5K-T2 | razsmernik | A | NNO
Guangzhou Sanjing | R5-6K-T2 | razsmernik | A | NNO
Guangzhou Sanjing | R5-8K-T2 | razsmernik | A | NNO
Guangzhou Sanjing | R5-9K-T2 | razsmernik | A | NNO
Guangzhou Sanjing | R5-10K-T2 | razsmernik | A | NNO
Guangzhou Sanjing | R5-12K-T2 | razsmernik | A | NNO

## Fimer
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Fimer | PVS-10-TL-SX | razsmernik | A, B | NNO
Fimer | PVS-10-TL-SY | razsmernik | A, B | NNO
Fimer | PVS-12.5-TL-SX | razsmernik | A, B | NNO
Fimer | PVS-12.5-TL-SY | razsmernik | A, B | NNO
Fimer | PVS-15-TL-SX | razsmernik | A, B | NNO
Fimer | PVS-15-TL-SY | razsmernik | A, B | NNO
Fimer | PVS-20-TL-SX | razsmernik | A, B | NNO
Fimer | PVS-20-TL-SY | razsmernik | A, B | NNO
Fimer | PVS-20-TL-SXD | razsmernik | A, B | NNO
Fimer | PVS-30-TL-SX | razsmernik | A, B | NNO
Fimer | PVS-30-TL-SY | razsmernik | A, B | NNO
Fimer | PVS-33-TL-SX | razsmernik | A, B | NNO
Fimer | PVS-33-TL-SY | razsmernik | A, B | NNO
Fimer | PVS-33-TL-SI | razsmernik | A, B | NNO
Fimer | PVS-50-TL | razsmernik | A, B | NNO
Fimer | PVS-50-TL-S | razsmernik | A, B | NNO
Fimer | PVS-50-TL-SX | razsmernik | A, B | NNO
Fimer | PVS-50-TL-SX2 | razsmernik | A, B | NNO
Fimer | PVS-100-TL | razsmernik | A, B | NNO
Fimer | TRIO-20.0-TL-OUTD-400 | razsmernik | A, B | NNO
Fimer | TRIO-20.0-TL-OUTD-S1J-400 | razsmernik | A, B | NNO
Fimer | TRIO-20.0-TL-OUTD-S2J-400 | razsmernik | A, B | NNO
Fimer | TRIO-20.0-TL-OUTD-S2-400 | razsmernik | A, B | NNO
Fimer | TRIO-20.0-TL-OUTD-S2X-400 | razsmernik | A, B | NNO
Fimer | TRIO-20.0-TL-OUTD-S2F-400 | razsmernik | A, B | NNO
Fimer | TRIO-20.0-TL-OUTD-400-W | razsmernik | A, B | NNO
Fimer | TRIO-27.6-TL-OUTD-400 | razsmernik | A, B | NNO
Fimer | TRIO-27.6-TL-OUTD-S1J-400 | razsmernik | A, B | NNO
Fimer | TRIO-27.6-TL-OUTD-S2J-400 | razsmernik | A, B | NNO
Fimer | TRIO-27.6-TL-OUTD-S2-400 | razsmernik | A, B | NNO
Fimer | TRIO-27.6-TL-OUTD-S2X-400 | razsmernik | A, B | NNO
Fimer | TRIO-27.6-TL-OUTD-S2F-400 | razsmernik | A, B | NNO
Fimer | TRIO-27.6-TL-OUTD-400-W | razsmernik | A, B | NNO
Fimer | UNO-DM-1.2-TL-PLUS | razsmernik | A | NNO
Fimer | UNO-DM-2.0-TL-PLUS | razsmernik | A | NNO
Fimer | UNO-DM-3.0-TL-PLUS | razsmernik | A | NNO
Fimer | UNO-DM-3.6-TL-PLUS | razsmernik | A | NNO
Fimer | UNO-DM-4.0-TL-PLUS | razsmernik | A | NNO
Fimer | UNO-DM-4.5-TL-PLUS | razsmernik | A | NNO
Fimer | UNO-DM-5.0-TL-PLUS | razsmernik | A | NNO
Fimer | UNO-DM-6.0-TL-PLUS | razsmernik | A | NNO
Fimer | REACT2-UNO-3.6-TL | hibridni razsmernik | A | NNO
Fimer | REACT2-UNO-5.0-TL | hibridni razsmernik | A | NNO
Fimer | TRIO-5.8-TL-OUTD-400 | razsmernik | A | NNO
Fimer | TRIO-7.5-TL-OUTD-400 | razsmernik | A | NNO
Fimer | TRIO-8.5-TL-OUTD-400 | razsmernik | A | NNO
Fimer | TRIO-5.8-TL-OUTD-S-400 | razsmernik | A | NNO
Fimer | TRIO-7.5-TL-OUTD-S-400 | razsmernik | A | NNO
Fimer | TRIO-8.5-TL-OUTD-S-400 | razsmernik | A | NNO

## Kostal
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Kostal Solar | PIKO MP plus 1.5-1 | razsmernik | A | NNO
Kostal Solar | PIKO MP plus 2.0-1 | razsmernik | A | NNO
Kostal Solar | PIKO MP plus 2.5-1 | razsmernik | A | NNO
Kostal Solar | PIKO MP plus 3.0-1 | razsmernik | A | NNO
Kostal Solar | PIKO MP plus 3.0-2 | razsmernik | A | NNO
Kostal Solar | PIKO MP plus 3.6-1 | razsmernik | A | NNO
Kostal Solar | PIKO MP plus 3.6-2 | razsmernik | A | NNO
Kostal Solar | PIKO MP plus 4.6-2 | razsmernik | A | NNO
Kostal Solar | PIKO MP plus 5.0-2 | razsmernik | A | NNO
Kostal Solar | PLENTICORE 3.0 | razsmernik | A | NNO
Kostal Solar | PLENTICORE 4.2 | razsmernik | A | NNO
Kostal Solar | PLENTICORE 5.5 | razsmernik | A | NNO
Kostal Solar | PLENTICORE 7.0 | razsmernik | A | NNO
Kostal Solar | PLENTICORE 8.5 | razsmernik | A | NNO
Kostal Solar | PLENTICORE 10.0 | razsmernik | A | NNO
Kostal Solar | PIKO 10 | razsmernik | A | NNO
Kostal Solar | PIKO 12 | razsmernik | A | NNO
Kostal Solar | PIKO 15 | razsmernik | A | NNO
Kostal Solar | PIKO 17 | razsmernik | A | NNO
Kostal Solar | PIKO 20 | razsmernik | A | NNO
Kostal Solar | PIKO Cl 30 | razsmernik | A, B | NNO, SNO
Kostal Solar | PIKO Cl 50 | razsmernik | A, B | NNO, SNO
Kostal Solar | PIKO Cl 60 | razsmernik | A, B | NNO, SNO

## Ginlong
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Ginlong | Solis S5-GC30K | razsmernik | A, B | NNO
Ginlong | Solis 100K-5G | razsmernik | A, B | NNO
Ginlong | Solis 110K-5G | razsmernik | A, B | NNO
Ginlong | Solis S5-GR3P12K | razsmernik | A | NNO
Ginlong | Solis S5-GR3P13K | razsmernik | A | NNO
Ginlong | Solis S5-GR3P15K | razsmernik | A | NNO
Ginlong | Solis S5-GR3P17K | razsmernik | A | NNO
Ginlong | Solis S5-GR3P20K | razsmernik | A | NNO
Ginlong | Solis S5-GC50K | razsmernik | A,B | NNO, SNO
Ginlong | Solis S5-GC60K | razsmernik | A,B | NNO, SNO
Ginlong | Solis S5-GR3P3K | razsmernik | A | NNO
Ginlong | Solis S5-GR3P4K | razsmernik | A | NNO
Ginlong | Solis S5-GR3P5K | razsmernik | A | NNO
Ginlong | Solis S5-GR3P6K | razsmernik | A | NNO
Ginlong | Solis S5-GR3P8K | razsmernik | A | NNO
Ginlong | Solis S5-GR3P10K | razsmernik | A | NNO
Ginlong | Solis S5-GC25K | razsmernik | A | NNO
Ginlong | Solis S5-GC30K | razsmernik | A | NNO
Ginlong | Solis S5-GC33K | razsmernik | A | NNO
Ginlong | Solis S5-GC36K | razsmernik | A | NNO
Ginlong | Solis S5-GC40K | razsmernik | A | NNO

## Viessmann
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Viessmann | VITOBLOC 200 EM-50/81 | sinhronski generator SPTE | A | NNO
Viessmann | VITOBLOC 200 EM-6/15 | sinhronski generator SPTE | A | NNO
Viessmann | VITOBLOC 200 EM-9/20 | sinhronski generator SPTE | A | NNO
Viessmann | VITOBLOC 200 EM-20/39 | sinhronski generator SPTE | A | NNO
Viessmann | VITOBLOC 200 EM-70/115 | sinhronski generator SPTE | A | NNO
Viessmann | VITOBLOC 200 EM-100/173 | sinhronski generator SPTE | A | NNO
Viessmann | VITOBLOC 200 EM-134/202 | sinhronski generator SPTE | A | NNO

## Victron
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Victron | MultiPlus II 48/3000/35-32 | hibridni razsmernik | A | NNO
Victron | MultiPlus II 48/5000/70-50 | hibridni razsmernik | A | NNO

## Sungrow
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Sungrow | SG 33CX | razsmernik | A, B | NNO, SNO
Sungrow | SG 40CX | razsmernik | A, B | NNO, SNO
Sungrow | SG 50CX | razsmernik | A, B | NNO, SNO
Sungrow | SG 110CX | razsmernik | A, B | NNO, SNO
Sungrow | SG 2.0RS-S | razsmernik | A | NNO
Sungrow | SG 2.5RS-S | razsmernik | A | NNO
Sungrow | SG 3.0RS-S | razsmernik | A | NNO
Sungrow | SG 3.0RS | razsmernik | A | NNO
Sungrow | SG 3.6RS | razsmernik | A | NNO
Sungrow | SG 4.0RS | razsmernik | A | NNO
Sungrow | SG 5.0RS | razsmernik | A | NNO
Sungrow | SG 6.0RS | razsmernik | A | NNO
Sungrow | SG 5.0RT | razsmernik | A | NNO
Sungrow | SG 6.0RT | razsmernik | A | NNO
Sungrow | SG 7.0RT | razsmernik | A | NNO
Sungrow | SG 8.0RT | razsmernik | A | NNO
Sungrow | SG 10RT | razsmernik | A | NNO
Sungrow | SG 12RT | razsmernik | A | NNO
Sungrow | SG 15RT | razsmernik | A | NNO
Sungrow | SG 17RT | razsmernik | A | NNO
Sungrow | SG 20RT | razsmernik | A | NNO
Sungrow | SG 250HX | razsmernik | B | SNO
Sungrow | SH3.0RS | hibridni razsmernik | A | NNO
Sungrow | SH3.6RS | hibridni razsmernik | A | NNO
Sungrow | SH4.0RS | hibridni razsmernik | A | NNO
Sungrow | SH5.0RS | hibridni razsmernik | A | NNO
Sungrow | SH6.0RS | hibridni razsmernik | A | NNO
Sungrow | SH5.0RT | hibridni razsmernik | A | NNO
Sungrow | SH6.0RT | hibridni razsmernik | A | NNO
Sungrow | SH8.0RT | hibridni razsmernik | A | NNO
Sungrow | SH10.0RT | hibridni razsmernik | A | NNO
Sungrow | SG 125CX-P2 | razsmernik | A, B | NNO, SNO
Sungrow | SG 25CX-P2 | razsmernik | A, B | NNO
Sungrow | SG 30CX-P2 | razsmernik | A, B | NNO
Sungrow | SG 33CX-P2 | razsmernik | A, B | NNO
Sungrow | SG 36CX-P2 | razsmernik | A, B | NNO
Sungrow | SG 40CX-P2 | razsmernik | A, B | NNO
Sungrow | SG 50CX-P2 | razsmernik | A, B | NNO
Sungrow | SH15T | hibridni razsmernik | A | NNO
Sungrow | SH20T | hibridni razsmernik | A | NNO
Sungrow | SH25T | hibridni razsmernik | A | NNO

## Fronius
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Fronius | PRIMO 3.0-1 | razsmernik | A | NNO
Fronius | PRIMO 3.5-1 | razsmernik | A | NNO
Fronius | PRIMO 3.6-1 | razsmernik | A | NNO
Fronius | PRIMO 4.0-1 | razsmernik | A | NNO
Fronius | PRIMO 4.6-1 | razsmernik | A | NNO
Fronius | PRIMO 5.0-1 AUS | razsmernik | A | NNO
Fronius | PRIMO 5.0-1 | razsmernik | A | NNO
Fronius | PRIMO 6.0-1 | razsmernik | A | NNO
Fronius | PRIMO 8.2-1 | razsmernik | A | NNO
Fronius | PRIMO GEN24 3.0 | razsmernik | A | NNO
Fronius | PRIMO GEN24 3.6 | razsmernik | A | NNO
Fronius | PRIMO GEN24 4.0 | razsmernik | A | NNO
Fronius | PRIMO GEN24 4.6 | razsmernik | A | NNO
Fronius | PRIMO GEN24 5.0 | razsmernik | A | NNO
Fronius | PRIMO GEN24 6.0 | razsmernik | A | NNO
Fronius | PRIMO GEN24 3.0 Plus | razsmernik | A | NNO
Fronius | PRIMO GEN24 3.6 Plus | razsmernik | A | NNO
Fronius | PRIMO GEN24 4.0 Plus | razsmernik | A | NNO
Fronius | PRIMO GEN24 4.6 Plus | razsmernik | A | NNO
Fronius | PRIMO GEN24 5.0 Plus | razsmernik | A | NNO
Fronius | PRIMO GEN24 6.0 Plus | razsmernik | A | NNO
Fronius | SYMO 3.0-3-M | razsmernik | A | NNO
Fronius | SYMO 3.7-3-M | razsmernik | A | NNO
Fronius | SYMO 4.5-3-M | razsmernik | A | NNO
Fronius | SYMO 5.0-3-M | razsmernik | A | NNO
Fronius | SYMO 5.5-3-M | razsmernik | A | NNO
Fronius | SYMO 6.0-3-M | razsmernik | A | NNO
Fronius | SYMO 6.7-3-M | razsmernik | A | NNO
Fronius | SYMO 7.0-3-M | razsmernik | A | NNO
Fronius | SYMO 8.0-3-M | razsmernik | A | NNO
Fronius | SYMO 8.2-3-M | razsmernik | A | NNO
Fronius | SYMO 10.0-3-M | razsmernik | A, B | NNO, SNO
Fronius | SYMO 12.5-3-M | razsmernik | A, B | NNO, SNO
Fronius | SYMO 15.0-3-M | razsmernik | A, B | NNO, SNO
Fronius | SYMO 17.5-3-M | razsmernik | A, B | NNO, SNO
Fronius | SYMO 20.0-3-M | razsmernik | A, B | NNO, SNO
Fronius | SYMO GEN24 3.0 | razsmernik | A | NNO
Fronius | SYMO GEN24 4.0 | razsmernik | A | NNO
Fronius | SYMO GEN24 5.0 | razsmernik | A | NNO
Fronius | SYMO GEN24 3.0 Plus | razsmernik | A | NNO
Fronius | SYMO GEN24 4.0 Plus | razsmernik | A | NNO
Fronius | SYMO GEN24 5.0 Plus | razsmernik | A | NNO
Fronius | SYMO GEN24 6.0 | razsmernik | A | NNO
Fronius | SYMO GEN24 7.0 | razsmernik | A | NNO
Fronius | SYMO GEN24 8.0 | razsmernik | A | NNO
Fronius | SYMO GEN24 9.0 | razsmernik | A | NNO
Fronius | SYMO GEN24 10.0 | razsmernik | A | NNO
Fronius | SYMO GEN24 6.0 Plus | razsmernik | A | NNO
Fronius | SYMO GEN24 7.0 Plus | razsmernik | A | NNO
Fronius | SYMO GEN24 8.0 Plus | razsmernik | A | NNO
Fronius | SYMO GEN24 9.0 Plus | razsmernik | A | NNO
Fronius | SYMO GEN24 10.0 Plus | razsmernik | A | NNO
Fronius | SYMO Hybrid 3.0-3-S | hibridni razsmernik | A | NNO
Fronius | SYMO Hybrid 4.0-3-S | hibridni razsmernik | A | NNO
Fronius | SYMO Hybrid 5.0-3-S | hibridni razsmernik | A | NNO
Fronius | ECO 25.0-3-S | razsmernik | A, B | NNO, SNO
Fronius | ECO 27.0-3-S | razsmernik | A, B | NNO, SNO
Fronius | TAURO 50-3-D | razsmernik | A, B | NNO, SNO
Fronius | TAURO 50-3-P | razsmernik | A, B | NNO, SNO
Fronius | TAURO ECO 50-3-D | razsmernik | A, B | NNO, SNO
Fronius | TAURO ECO 50-3-P | razsmernik | A, B | NNO, SNO
Fronius | TAURO ECO 99-3-D | razsmernik | A, B | NNO, SNO
Fronius | TAURO ECO 99-3-P | razsmernik | A, B | NNO, SNO
Fronius | TAURO ECO 100-3-D | razsmernik | A, B | NNO, SNO
Fronius | TAURO ECO 100-3-P | razsmernik | A, B | NNO, SNO

## VARTA
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Varta | Flex storage E36 | HEE | A | NNO
Varta | Flex storage E80 | HEE | A | NNO
Varta | Flex storage E120 | HEE | A | NNO

## AISWEI
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Aiswei New Energy Technology | ASW 1000S-S | razsmernik | A | NNO
Aiswei New Energy Technology | ASW 1500S-S | razsmernik | A | NNO
Aiswei New Energy Technology | ASW 2000S-S | razsmernik | A | NNO
Aiswei New Energy Technology | ASW 3000S-S | razsmernik | A | NNO
Aiswei New Energy Technology | ASW 3000-S | razsmernik | A | NNO
Aiswei New Energy Technology | ASW 3680-S | razsmernik | A | NNO
Aiswei New Energy Technology | ASW 4000-S | razsmernik | A | NNO
Aiswei New Energy Technology | ASW 5000-S | razsmernik | A | NNO
Aiswei New Energy Technology | ASW 3000-T | razsmernik | A | NNO
Aiswei New Energy Technology | ASW 4000-T | razsmernik | A | NNO
Aiswei New Energy Technology | ASW 5000-T | razsmernik | A | NNO
Aiswei New Energy Technology | ASW 6000-T | razsmernik | A | NNO
Aiswei New Energy Technology | ASW 8K-LT-G2 | razsmernik | A | NNO
Aiswei New Energy Technology | ASW 10K-LT-G2 | razsmernik | A | NNO
Aiswei New Energy Technology | ASW 12K-LT-G2 | razsmernik | A | NNO
Aiswei New Energy Technology | ASW 13K-LT-G2 | razsmernik | A | NNO
Aiswei New Energy Technology | ASW 15K-LT-G2 | razsmernik | A | NNO
Aiswei New Energy Technology | ASW 17K-LT-G2 | razsmernik | A | NNO
Aiswei New Energy Technology | ASW 20K-LT-G2 | razsmernik | A | NNO
Aiswei New Energy Technology | ASW 30K-LT-G2 | razsmernik | A, B | NNO
Aiswei New Energy Technology | ASW 33K-LT-G2 | razsmernik | A, B | NNO
Aiswei New Energy Technology | ASW 36K-LT-G2 | razsmernik | A, B | NNO
Aiswei New Energy Technology | ASW 40K-LT-G2 | razsmernik | A, B | NNO
Aiswei New Energy Technology | ASW 45K-LT-G2 | razsmernik | A, B | NNO
Aiswei New Energy Technology | ASW 50K-LT-G2 | razsmernik | A, B | NNO
Aiswei New Energy Technology | ASW 8kH-T1 | hibridni razsmernik | A | NNO
Aiswei New Energy Technology | ASW 10kH-T1 | hibridni razsmernik | A | NNO
Aiswei New Energy Technology | ASW 12kH-T1 | hibridni razsmernik | A | NNO
Aiswei New Energy Technology | ASW80K-LT | razsmernik | A, B | NNO, SNO
Aiswei New Energy Technology | ASW100K-LT | razsmernik | A, B | NNO, SNO
Aiswei New Energy Technology | ASW110K-LT | razsmernik | A, B | NNO, SNO
Aiswei New Energy Technology | ASW 25K-LT-G3 | razsmernik | A, B | NNO
Aiswei New Energy Technology | ASW 27K-LT-G3 | razsmernik | A, B | NNO
Aiswei New Energy Technology | ASW 30K-LT-G3 | razsmernik | A, B | NNO
Aiswei New Energy Technology | ASW 33K-LT-G3 | razsmernik | A, B | NNO
Aiswei New Energy Technology | ASW 36K-LT-G3 | razsmernik | A, B | NNO
Aiswei New Energy Technology | ASW 40K-LT-G3 | razsmernik | A, B | NNO
Aiswei New Energy Technology | ASW3K-LT-G2 Pro | razsmernik | A | NNO
Aiswei New Energy Technology | ASW4K-LT-G2 Pro | razsmernik | A | NNO
Aiswei New Energy Technology | ASW5K-LT-G2 Pro | razsmernik | A | NNO
Aiswei New Energy Technology | ASW6K-LT-G2 Pro | razsmernik | A | NNO
Aiswei New Energy Technology | ASW8K-LT-G2 Pro | razsmernik | A | NNO
Aiswei New Energy Technology | ASW10K-LT-G2 Pro | razsmernik | A | NNO
Aiswei New Energy Technology | ASW12K-LT-G2 Pro | razsmernik | A | NNO
Aiswei New Energy Technology | ASW13K-LT-G2 Pro | razsmernik | A | NNO
Aiswei New Energy Technology | ASW15K-LT-G2 Pro | razsmernik | A | NNO
Aiswei New Energy Technology | ASW17K-LT-G2 Pro | razsmernik | A | NNO
Aiswei New Energy Technology | ASW20K-LT-G2 Pro | razsmernik | A | NNO
Aiswei New Energy Technology | ASW3000H-G2 | hibridni razsmernik | A | NNO
Aiswei New Energy Technology | ASW3680H-G2 | hibridni razsmernik | A | NNO
Aiswei New Energy Technology | ASW4000H-G2 | hibridni razsmernik | A | NNO
Aiswei New Energy Technology | ASW5000H-G2 | hibridni razsmernik | A | NNO
Aiswei New Energy Technology | ASW6000H-G2 | hibridni razsmernik | A | NNO
Aiswei Technology | ASW05kH-T2 | hibridni razsmernik | A | NNO
Aiswei Technology | ASW06kH-T2 | hibridni razsmernik | A | NNO
Aiswei Technology | ASW08kH-T2 | hibridni razsmernik | A | NNO
Aiswei Technology | ASW10kH-T2 | hibridni razsmernik | A | NNO
Aiswei Technology | ASW12kH-T2 | hibridni razsmernik | A | NNO
Aiswei Technology | ASW05kH-T2-O | hibridni razsmernik | A | NNO
Aiswei Technology | ASW06kH-T2-O | hibridni razsmernik | A | NNO
Aiswei Technology | ASW08kH-T2-O | hibridni razsmernik | A | NNO
Aiswei Technology | ASW10kH-T2-O | hibridni razsmernik | A | NNO
Aiswei Technology | ASW12kH-T2-O | hibridni razsmernik | A | NNO
Aiswei Technology | ASW05kH-T3 | hibridni razsmernik | A | NNO
Aiswei Technology | ASW06kH-T3 | hibridni razsmernik | A | NNO
Aiswei Technology | ASW08kH-T3 | hibridni razsmernik | A | NNO
Aiswei Technology | ASW10kH-T3 | hibridni razsmernik | A | NNO
Aiswei Technology | ASW12kH-T3 | hibridni razsmernik | A | NNO
Aiswei Technology | ASW05kH-T3-O | hibridni razsmernik | A | NNO
Aiswei Technology | ASW06kH-T3-O | hibridni razsmernik | A | NNO
Aiswei Technology | ASW08kH-T3-O | hibridni razsmernik | A | NNO
Aiswei Technology | ASW10kH-T3-O | hibridni razsmernik | A | NNO
Aiswei Technology | ASW12kH-T3-O | hibridni razsmernik | A | NNO

## NINGBO DEYE
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Ningbo Deye | SUN-3.6K-SG03LP1-EU | hibridni razsmernik | A | NNO
Ningbo Deye | SUN-5K-SG03LP1-EU | hibridni razsmernik | A | NNO
Ningbo Deye | SUN-5K-SG04LP3-EU | hibridni razsmernik | A | NNO
Ningbo Deye | SUN-6K-SG04LP3-EU | hibridni razsmernik | A | NNO
Ningbo Deye | SUN-8K-SG04LP3-EU | hibridni razsmernik | A | NNO
Ningbo Deye | SUN-10K-SG04LP3-EU | hibridni razsmernik | A | NNO
Ningbo Deye | SUN-12K-SG04LP3-EU | hibridni razsmernik | A | NNO
NingBo Deye | SUN300G3-EU-230 | mikrorazsmernik | A | NNO
NingBo Deye | SUN400G3-EU-230 | mikrorazsmernik | A | NNO
NingBo Deye | SUN500G3-EU-230 | mikrorazsmernik | A | NNO
NingBo Deye | SUN600G3-EU-230 | mikrorazsmernik | A | NNO
NingBo Deye | SUN800G3-EU-230 | mikrorazsmernik | A | NNO
NingBo Deye | SUN1000G3-EU-230 | mikrorazsmernik | A | NNO
NingBo Deye | SUN1300G3-EU-230 | mikrorazsmernik | A | NNO
NingBo Deye | SUN1600G3-EU-230 | mikrorazsmernik | A | NNO
NingBo Deye | SUN1800G3-EU-230 | mikrorazsmernik | A | NNO
NingBo Deye | SUN2000G3-EU-230 | mikrorazsmernik | A | NNO
NingBo Deye | SUN-1K-G04P1-EU-AM1 | razsmernik | A | NNO
NingBo Deye | SUN-1.5K-G04P1-EU-AM1 | razsmernik | A | NNO
NingBo Deye | SUN-2K-G04P1-EU-AM1 | razsmernik | A | NNO
NingBo Deye | SUN-2.5K-G04P1-EU-AM1 | razsmernik | A | NNO
NingBo Deye | SUN-3K-G04P1-EU-AM1 | razsmernik | A | NNO
NingBo Deye | SUN-3K-G05-1-P | razsmernik | A | NNO
NingBo Deye | SUN-3K-G05-P | razsmernik | A | NNO
NingBo Deye | SUN-4K-G05-P | razsmernik | A | NNO
NingBo Deye | SUN-5K-G05-P | razsmernik | A | NNO
NingBo Deye | SUN-6K-G05-P | razsmernik | A | NNO
NingBo Deye | SUN-7K-G05-P | razsmernik | A | NNO
NingBo Deye | SUN-8K-G05-P | razsmernik | A | NNO
NingBo Deye | SUN-9K-G05-P | razsmernik | A | NNO
NingBo Deye | SUN-10K-G05-P | razsmernik | A | NNO
NingBo Deye | SUN-12K-G05-P | razsmernik | A | NNO
NingBo Deye | SUN-15K-G05-P | razsmernik | A | NNO
NingBo Deye | SUN-3K-G05 | razsmernik | A | NNO
NingBo Deye | SUN-4K-G05 | razsmernik | A | NNO
NingBo Deye | SUN-5K-G05 | razsmernik | A | NNO
NingBo Deye | SUN-6K-G05 | razsmernik | A | NNO
NingBo Deye | SUN-7K-G05 | razsmernik | A | NNO
NingBo Deye | SUN-8K-G05 | razsmernik | A | NNO
NingBo Deye | SUN-9K-G05 | razsmernik | A | NNO
NingBo Deye | SUN-10K-G05 | razsmernik | A | NNO
NingBo Deye | SUN-12K-G05 | razsmernik | A | NNO
NingBo Deye | SUN-15K-G05 | razsmernik | A | NNO
NingBo Deye | SUN-18K-G04 | razsmernik | A, B | NNO
NingBo Deye | SUN-20K-G04 | razsmernik | A, B | NNO
NingBo Deye | SUN-25K-G04 | razsmernik | A, B | NNO
NingBo Deye | SUN-30K-G04 | razsmernik | A, B | NNO
NingBo Deye | SUN-33K-G04 | razsmernik | A, B | NNO
NingBo Deye | SUN-35K-G04 | razsmernik | A, B | NNO
NingBo Deye | SUN-36K-G04 | razsmernik | A, B | NNO
NingBo Deye | SUN-30K-G03 | razsmernik | A, B | NNO
NingBo Deye | SUN-33K-G03 | razsmernik | A, B | NNO
NingBo Deye | SUN-35K-G03 | razsmernik | A, B | NNO
NingBo Deye | SUN-40K-G03 | razsmernik | A, B | NNO
NingBo Deye | SUN-50K-G03 | razsmernik | A, B | NNO
NingBo Deye | SUN-60K-G03 | razsmernik | A, B | NNO
NingBo Deye | SUN-70K-G03 | razsmernik | A, B | NNO
NingBo Deye | SUN-75K-G03 | razsmernik | A, B | NNO
NingBo Deye | SUN-80K-G03 | razsmernik | A, B | NNO
NingBo Deye | SUN-90K-G03 | razsmernik | A, B | NNO
NingBo Deye | SUN-100K-G03 | razsmernik | A, B | NNO
NingBo Deye | SUN-110K-G03 | razsmernik | A, B | NNO
Ningbo Deye | SUN-5K-SG01HP3-EU-AM2 | hibridni razsmernik | A | NNO
Ningbo Deye | SUN-6K-SG01HP3-EU-AM2 | hibridni razsmernik | A | NNO
Ningbo Deye | SUN-8K-SG01HP3-EU-AM2 | hibridni razsmernik | A | NNO
Ningbo Deye | SUN-10K-SG01HP3-EU-AM2 | hibridni razsmernik | A | NNO
Ningbo Deye | SUN-12K-SG01HP3-EU-AM2 | hibridni razsmernik | A | NNO
Ningbo Deye | SUN-15K-SG01HP3-EU-AM2 | hibridni razsmernik | A | NNO
Ningbo Deye | SUN-20K-SG01HP3-EU-AM2 | hibridni razsmernik | A | NNO
Ningbo Deye | SUN-25K-SG01HP3-EU-AM2 | hibridni razsmernik | A | NNO
Ningbo Deye | GB-S5K-EU | hibridni razsmernik | A | NNO
Ningbo Deye | GB-S6K-EU | hibridni razsmernik | A | NNO
Ningbo Deye | GB-S8K-EU | hibridni razsmernik | A | NNO
Ningbo Deye | GB-S10K-EU | hibridni razsmernik | A | NNO
Ningbo Deye | GB-S12K-EU | hibridni razsmernik | A | NNO
Ningbo Deye | GB-S15K-EU | hibridni razsmernik | A | NNO
Ningbo Deye | GB-S20K-EU | hibridni razsmernik | A | NNO
Ningbo Deye | GB-S25K-EU | hibridni razsmernik | A | NNO
Ningbo Deye | SUN-3.6K-SG05LP1-EU | hibridni razsmernik | A | NNO
Ningbo Deye | SUN-5K-SG05LP1-EU | hibridni razsmernik | A | NNO
Ningbo Deye | SUN-6K-SG05LP1-EU | hibridni razsmernik | A | NNO
Ningbo Deye | SUN-7.6K-SG05LP1-EU | hibridni razsmernik | A | NNO
Ningbo Deye | SUN-8K-SG05LP1-EU | hibridni razsmernik | A | NNO
Ningbo Deye | SUN-29.9K-SG01HP3-EU-BM3 | hibridni razsmernik | A | NNO
Ningbo Deye | SUN-30K-SG01HP3-EU-BM3 | hibridni razsmernik | A | NNO
Ningbo Deye | SUN-35K-SG01HP3-EU-BM3 | hibridni razsmernik | A | NNO
Ningbo Deye | SUN-40K-SG01HP3-EU-BM4 | hibridni razsmernik | A | NNO
Ningbo Deye | SUN-50K-SG01HP3-EU-BM4 | hibridni razsmernik | A | NNO

## PIXII AS
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
PIXII AS | PowerShaper 3,3 kW/YY kWh | HEE | A | NNO
PIXII AS | PowerShaper 6,7 kW/YY kWh | HEE | A | NNO
PIXII AS | PowerShaper 10 kW/YY kWh | HEE | A | NNO
PIXII AS | PowerShaper 13,3 kW/YY kWh | HEE | A | NNO
PIXII AS | PowerShaper 16,7 kW/YY kWh | HEE | A | NNO
PIXII AS | PowerShaper 20 kW/YY kWh | HEE | A | NNO
PIXII AS | PowerShaper 23,3 kW/YY kWh | HEE | A | NNO
PIXII AS | PowerShaper 26,7 kW/YY kWh | HEE | A | NNO
PIXII AS | PowerShaper 30 kW/YY kWh | HEE | A | NNO
PIXII AS | PowerShaper 33,3 kW/YY kWh | HEE | A | NNO
PIXII AS | PowerShaper 36,7 kW/YY kWh | HEE | A | NNO
PIXII AS | PowerShaper 40 kW/YY kWh | HEE | A | NNO
PIXII AS | PowerShaper 43,3 kW/YY kWh | HEE | A | NNO
PIXII AS | PowerShaper 46,7 kW/YY kWh | HEE | A | NNO
PIXII AS | PowerShaper 50 kW/YY kWh | HEE | A | NNO

## GROWATT
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Shenzhen Growatt | SPH 4000TL3 BH-UP | hibridni razsmernik | A | NNO
Shenzhen Growatt | SPH 5000TL3 BH-UP | hibridni razsmernik | A | NNO
Shenzhen Growatt | SPH 6000TL3 BH-UP | hibridni razsmernik | A | NNO
Shenzhen Growatt | SPH 7000TL3 BH-UP | hibridni razsmernik | A | NNO
Shenzhen Growatt | SPH 8000TL3 BH-UP | hibridni razsmernik | A | NNO
Shenzhen Growatt | SPH 10000TL3 BH-UP | hibridni razsmernik | A | NNO
Shenzhen Growatt | SPH 3000TL BL-UP | hibridni razsmernik | A | NNO
Shenzhen Growatt | SPH 3600TL BL-UP | hibridni razsmernik | A | NNO
Shenzhen Growatt | SPH 4000TL BL-UP | hibridni razsmernik | A | NNO
Shenzhen Growatt | SPH 4600TL BL-UP | hibridni razsmernik | A | NNO
Shenzhen Growatt | SPH 5000TL BL-UP | hibridni razsmernik | A | NNO
Shenzhen Growatt | SPH 6000TL BL-UP | hibridni razsmernik | A | NNO
Shenzhen Growatt | MIN 2500TL-XH | hibridni razsmernik | A | NNO
Shenzhen Growatt | MIN 3000TL-XH | hibridni razsmernik | A | NNO
Shenzhen Growatt | MIN 3600TL-XH | hibridni razsmernik | A | NNO
Shenzhen Growatt | MIN 4200TL-XH | hibridni razsmernik | A | NNO
Shenzhen Growatt | MIN 4600TL-XH | hibridni razsmernik | A | NNO
Shenzhen Growatt | MIN 5000TL-XH | hibridni razsmernik | A | NNO
Shenzhen Growatt | MIN 6000TL-XH | hibridni razsmernik | A | NNO
Shenzhen Growatt | MOD 3000TL3-XH | hibridni razsmernik | A | NNO
Shenzhen Growatt | MOD 4000TL3-XH | hibridni razsmernik | A | NNO
Shenzhen Growatt | MOD 5000TL3-XH | hibridni razsmernik | A | NNO
Shenzhen Growatt | MOD 6000TL3-XH | hibridni razsmernik | A | NNO
Shenzhen Growatt | MOD 7000TL3-XH | hibridni razsmernik | A | NNO
Shenzhen Growatt | MOD 8000TL3-XH | hibridni razsmernik | A | NNO
Shenzhen Growatt | MOD 9000TL3-XH | hibridni razsmernik | A | NNO
Shenzhen Growatt | MOD 10KTL3-XH | hibridni razsmernik | A | NNO
Shenzhen Growatt | MID 15KTL3-X | razsmernik | A | NNO
Shenzhen Growatt | MID 17KTL3-X | razsmernik | A | NNO
Shenzhen Growatt | MID 20KTL3-X | razsmernik | A | NNO
Shenzhen Growatt | MID 22KTL3-X | razsmernik | A | NNO
Shenzhen Growatt | MID 25KTL3-X | razsmernik | A | NNO
Shenzhen Growatt | MID 30KTL3-X | razsmernik | A | NNO
Shenzhen Growatt | MID 33KTL3-X | razsmernik | A | NNO
Shenzhen Growatt | MID 36KTL3-X | razsmernik | A | NNO
Shenzhen Growatt | MID 40KTL3-X | razsmernik | A | NNO
Shenzhen Growatt | MID 11KTL3-XH | hibridni razsmernik | A | NNO
Shenzhen Growatt | MID 12KTL3-XH | hibridni razsmernik | A | NNO
Shenzhen Growatt | MID 13KTL3-XH | hibridni razsmernik | A | NNO
Shenzhen Growatt | MID 15KTL3-XH | hibridni razsmernik | A | NNO
Shenzhen Growatt | MID 17KTL3-XH | hibridni razsmernik | A | NNO
Shenzhen Growatt | MID 20KTL3-XH | hibridni razsmernik | A | NNO
Shenzhen Growatt | MID 25KTL3-XH | hibridni razsmernik | A | NNO
Shenzhen Growatt | MID 30KTL3-XH | hibridni razsmernik | A | NNO
Shenzhen Growatt | MAX 100KTL3-X LV | razsmernik | A | NNO
Shenzhen Growatt | MAX 110KTL3-X LV | razsmernik | A | NNO
Shenzhen Growatt | MAX 120KTL3-X LV | razsmernik | A | NNO
Shenzhen Growatt | MAX 125KTL3-X LV | razsmernik | A | NNO

## Tigo Energy
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Tigo Energy | TSI-5K3D | hibridni razsmernik | A | NNO
Tigo Energy | TSI-6K3D | hibridni razsmernik | A | NNO
Tigo Energy | TSI-8K3D | hibridni razsmernik | A | NNO
Tigo Energy | TSI-10K3D | hibridni razsmernik | A | NNO
Tigo Energy | TSI-12K3D | hibridni razsmernik | A | NNO
Tigo Energy | TSI-15K3D | hibridni razsmernik | A | NNO

## Maitian Energy
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Maitian Energy | S700 | razsmernik | A | NNO
Maitian Energy | S1000 | razsmernik | A | NNO
Maitian Energy | S1500 | razsmernik | A | NNO
Maitian Energy | S2000 | razsmernik | A | NNO
Maitian Energy | S2500 | razsmernik | A | NNO
Maitian Energy | S3000 | razsmernik | A | NNO
Maitian Energy | S3300 | razsmernik | A | NNO
Maitian Energy | T3 | razsmernik | A | NNO
Maitian Energy | T4 | razsmernik | A | NNO
Maitian Energy | T5 | razsmernik | A | NNO
Maitian Energy | T6 | razsmernik | A | NNO
Maitian Energy | T8 | razsmernik | A | NNO
Maitian Energy | T10 | razsmernik | A | NNO
Maitian Energy | T12 | razsmernik | A | NNO
Maitian Energy | T15 | razsmernik | A | NNO
Maitian Energy | T17 | razsmernik | A | NNO
Maitian Energy | T20 | razsmernik | A | NNO
Maitian Energy | T25 | razsmernik | A | NNO

## Foxess
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Foxess | H3-5.0-E | hibridni razsmernik | A | NNO
Foxess | H3-6.0-E | hibridni razsmernik | A | NNO
Foxess | H3-8.0-E | hibridni razsmernik | A | NNO
Foxess | H3-10.0-E | hibridni razsmernik | A | NNO
Foxess | H3-12.0-E | hibridni razsmernik | A | NNO
Foxess | AC3-5.0-E | hibridni razsmernik | A | NNO
Foxess | AC3-6.0-E | hibridni razsmernik | A | NNO
Foxess | AC3-8.0-E | hibridni razsmernik | A | NNO
Foxess | AC3-10.0-E | hibridni razsmernik | A | NNO
Foxess | AC3-12.0-E | hibridni razsmernik | A | NNO
Foxess | T3-G3 | razsmernik | A | NNO
Foxess | T4-G3 | razsmernik | A | NNO
Foxess | T5-G3 | razsmernik | A | NNO
Foxess | T6-G3 | razsmernik | A | NNO
Foxess | T8-G3 | razsmernik | A | NNO
Foxess | T8(Dual)-G3 | razsmernik | A | NNO
Foxess | T10-G3 | razsmernik | A | NNO
Foxess | T10(Dual)-G3 | razsmernik | A | NNO
Foxess | T12-G3 | razsmernik | A | NNO
Foxess | T12(Dual)-G3 | razsmernik | A | NNO
Foxess | T15-G3 | razsmernik | A | NNO
Foxess | T17-G3 | razsmernik | A | NNO
Foxess | T20-G3 | razsmernik | A | NNO
Foxess | T23-G3 | razsmernik | A | NNO
Foxess | T25-G3 | razsmernik | A | NNO
Foxess | H1-3.0-E | HEE | A | NNO
Foxess | H1-3.7-E | HEE | A | NNO
Foxess | H1-4.6-E | HEE | A | NNO
Foxess | H1-5.0-E | HEE | A | NNO
Foxess | H1-6.0-E | HEE | A | NNO
Foxess | H1-3.0-E-G2 | HEE | A | NNO
Foxess | H1-3.7-E-G2 | HEE | A | NNO
Foxess | H1-4.6-E-G2 | HEE | A | NNO
Foxess | H1-5.0-E-G2 | HEE | A | NNO
Foxess | H1-6.0-E-G2 | HEE | A | NNO
Foxess | H3-Pro-10.0 | HEE | A | NNO
Foxess | H3-Pro-12.0 | HEE | A | NNO
Foxess | H3-Pro-15.0 | HEE | A | NNO
Foxess | H3-Pro-20.0 | HEE | A | NNO
Foxess | H3-Pro-22.0 | HEE | A | NNO
Foxess | H3-Pro-24.9 | HEE | A | NNO
Foxess | H3-Pro-25.0 | HEE | A | NNO
Foxess | H3-Pro-29.9 | HEE | A | NNO

## BlueSun Solar
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
BlueSun Solar | BSE6KH3 | hibridni razsmernik | A | NNO
BlueSun Solar | BSE8KH3 | hibridni razsmernik | A | NNO
BlueSun Solar | BSE10KH3 | hibridni razsmernik | A | NNO
BlueSun Solar | BSE12KH3 | hibridni razsmernik | A | NNO
BlueSun Solar | BSE15KH3 | hibridni razsmernik | A | NNO
BlueSun Solar | BSM8K-B | razsmernik | A | NNO
BlueSun Solar | BSM10K-B | razsmernik | A | NNO
BlueSun Solar | BSM12K-B | razsmernik | A | NNO
BlueSun Solar | BSM15K-B | razsmernik | A | NNO
BlueSun Solar | BSM17K-B | razsmernik | A | NNO
BlueSun Solar | BSM20K-B | razsmernik | A | NNO
BlueSun Solar | BSM22K-B | razsmernik | A | NNO
BlueSun Solar | BSM25K-B | razsmernik | A | NNO
BlueSun Solar | BSM30K-B | razsmernik | A | NNO
BlueSun Solar | BSM33K-B | razsmernik | A | NNO
BlueSun Solar | BSM100K-B | razsmernik | A, B | NNO
BlueSun Solar | BSM110K-B | razsmernik | A, B | NNO

## Kehua HEE
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Xiamen Kehua Digital Energy | iStoragE3 5K | HEE | A | NNO
Xiamen Kehua Digital Energy | iStoragE3 6K | HEE | A | NNO
Xiamen Kehua Digital Energy | iStoragE3 8K | HEE | A | NNO
Xiamen Kehua Digital Energy | iStoragE3 10K | HEE | A | NNO
Xiamen Kehua Digital Energy | iStoragE3 12K | HEE | A | NNO

## Kstar
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Shenzhen Kstar New Energy | E8KT | hibridni razsmernik | A | NNO
Shenzhen Kstar New Energy | E10KT | hibridni razsmernik | A | NNO
Shenzhen Kstar New Energy | E12KT | hibridni razsmernik | A | NNO
Shenzhen Kstar New Energy | BluE-S 3680D-M1 | hibridni razsmernik | A | NNO
Shenzhen Kstar New Energy | BluE-S 5000D-M1 | hibridni razsmernik | A | NNO
Shenzhen Kstar New Energy | BluE-S 6000D-M1 | hibridni razsmernik | A | NNO
Shenzhen Kstar New Energy | KAC50DP | hibridni razsmernik | A | NNO

## Sicon SOCOMEC
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Sicom SOCOMEC | SUN-HES-MOD50 | inverter za HEE | A | NNO

## NGEN
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
NGEN | STAR-H3-5.0-E | hibridni razsmernik | A | NNO
NGEN | STAR-H3-6.0-E | hibridni razsmernik | A | NNO
NGEN | STAR-H3-8.0-E | hibridni razsmernik | A | NNO
NGEN | STAR-H3-10.0-E | hibridni razsmernik | A | NNO
NGEN | STAR-H3-12.0-E | hibridni razsmernik | A | NNO

## SofarSolar
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Shenzhen SofarSolar | HYD 5KTL-3PH | hibridni razsmernik | A | NNO
Shenzhen SofarSolar | HYD 6KTL-3PH | hibridni razsmernik | A | NNO
Shenzhen SofarSolar | HYD 8KTL-3PH | hibridni razsmernik | A | NNO
Shenzhen SofarSolar | HYD 10KTL-3PH | hibridni razsmernik | A | NNO
Shenzhen SofarSolar | HYD 15KTL-3PH | hibridni razsmernik | A | NNO
Shenzhen SofarSolar | HYD 20KTL-3PH | hibridni razsmernik | A | NNO

## RENAC
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
RENAC Power Technology | R3-30K | razsmernik | A, B | NNO
RENAC Power Technology | R3-36K | razsmernik | A, B | NNO
RENAC Power Technology | R3-40K | razsmernik | A, B | NNO
RENAC Power Technology | R3-50K | razsmernik | A, B | NNO
RENAC Power Technology | N3-HV-5.0 | hibridni razsmernik | A | NNO
RENAC Power Technology | N3-HV-6.0 | hibridni razsmernik | A | NNO
RENAC Power Technology | N3-HV-8.0 | hibridni razsmernik | A | NNO
RENAC Power Technology | N3-HV-10.0 | hibridni razsmernik | A | NNO
RENAC Power Technology | R3-10K-G5 | razsmernik | A | NNO
RENAC Power Technology | R3-15K-G5 | razsmernik | A | NNO
RENAC Power Technology | R3-17K-G5 | razsmernik | A | NNO
RENAC Power Technology | R3-20K-G5 | razsmernik | A | NNO
RENAC Power Technology | R3-25K-G5 | razsmernik | A | NNO
RENAC Power Technology | R3-25K-G5-P | razsmernik | A | NNO

## Jiangsu Koyoe
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Jiangsu Koyoe Energy Technology | KY-EST06KH | hibridni razsmernik | A | NNO
Jiangsu Koyoe Energy Technology | KY-EST08KH | hibridni razsmernik | A | NNO
Jiangsu Koyoe Energy Technology | KY-EST10KH | hibridni razsmernik | A | NNO
Jiangsu Koyoe Energy Technology | KY-EST12KH | hibridni razsmernik | A | NNO
Jiangsu Koyoe Energy Technology | KY-EST15KH | hibridni razsmernik | A | NNO
Jiangsu Koyoe Energy Technology | KY-EST17KH | hibridni razsmernik | A | NNO
Jiangsu Koyoe Energy Technology | KY-EST20KH | hibridni razsmernik | A | NNO

## Dongguan Kaideng
Proizvajalec | Model | Vrsta opreme | Tip
Dongguan Kaideng Energy Technology | WVC-295 | mikrorazsmernik | A
Dongguan Kaideng Energy Technology | WVC-300 | mikrorazsmernik | A
Dongguan Kaideng Energy Technology | WVC-350 | mikrorazsmernik | A
Dongguan Kaideng Energy Technology | WVC-600 | mikrorazsmernik | A
Dongguan Kaideng Energy Technology | WVC-700 | mikrorazsmernik | A
Dongguan Kaideng Energy Technology | WVC-1200 | mikrorazsmernik | A
Dongguan Kaideng Energy Technology | WVC-1400 | mikrorazsmernik | A
Dongguan Kaideng Energy Technology | WVC-2000 | mikrorazsmernik | A
Dongguan Kaideng Energy Technology | WVC-2400 | mikrorazsmernik | A
Dongguan Kaideng Energy Technology | WVC-2800 | mikrorazsmernik | A

## Ledvance
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Ledvance | LT-5K F1 | razsmernik | A | NNO
Ledvance | LT-6K F1 | razsmernik | A | NNO
Ledvance | LT-8K F1 | razsmernik | A | NNO
Ledvance | LT-10K F1 | razsmernik | A | NNO
Ledvance | LT-12K F1 | razsmernik | A | NNO
Ledvance | LT-15K F1 | razsmernik | A | NNO
Ledvance | LT-20K F1 | razsmernik | A | NNO
Ledvance | LT-30K F1 | razsmernik | A | NNO

## Suzhou Hypontech
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Suzhou Hypontech | HMS-600 | mikrorazsmernik | A | NNO
Suzhou Hypontech | HMS-600-C | mikrorazsmernik | A | NNO
Suzhou Hypontech | HMS-800 | mikrorazsmernik | A | NNO
Suzhou Hypontech | HMS-800-C | mikrorazsmernik | A | NNO
Suzhou Hypontech | HHT-5000 | hibridni razsmernik | A | NNO
Suzhou Hypontech | HHT-6000 | hibridni razsmernik | A | NNO
Suzhou Hypontech | HHT-8000 | hibridni razsmernik | A | NNO
Suzhou Hypontech | HHT-10000 | hibridni razsmernik | A | NNO
Suzhou Hypontech | HHT-12000 | hibridni razsmernik | A | NNO
Suzhou Hypontech | HPT-15K | razsmernik | A | NNO
Suzhou Hypontech | HPT-17K | razsmernik | A | NNO
Suzhou Hypontech | HPT-20K | razsmernik | A | NNO
Suzhou Hypontech | HPT-25K | razsmernik | A | NNO
Suzhou Hypontech | HPT-30K | razsmernik | A | NNO
Suzhou Hypontech | HPT-33K | razsmernik | A | NNO
Suzhou Hypontech | HPT-36K | razsmernik | A | NNO
Suzhou Hypontech | HPT-40K | razsmernik | A | NNO
Suzhou Hypontech | HPT-50K | razsmernik | A | NNO

## ALPHA-ESS
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Alpha-ESS | SMILE-G3-S5 | hibridni razsmernik | A | NNO

## INGETEAM
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
INGETEAM | INGECON SUN STORAGE 1170TL-B450 | inverter za HEE | B | SNO
INGETEAM | INGECON SUN STORAGE 1195TL-B460 | inverter za HEE | B | SNO
INGETEAM | INGECON SUN STORAGE 1220TL-B470 | inverter za HEE | B | SNO
INGETEAM | INGECON SUN STORAGE 1247TL-B480 | inverter za HEE | B | SNO
INGETEAM | INGECON SUN STORAGE 1273TL-B490 | inverter za HEE | B | SNO
INGETEAM | INGECON SUN STORAGE 1300TL-B500 | inverter za HEE | B | SNO
INGETEAM | INGECON SUN STORAGE 1325TL-B510 | inverter za HEE | B | SNO
INGETEAM | INGECON SUN STORAGE 1350TL-B520 | inverter za HEE | B | SNO
INGETEAM | INGECON SUN STORAGE 1376TL-B530 | inverter za HEE | B | SNO
INGETEAM | INGECON SUN STORAGE 1400TL-B540 | inverter za HEE | B | SNO
INGETEAM | INGECON SUN STORAGE 1430TL-B550 | inverter za HEE | B | SNO
INGETEAM | INGECON SUN STORAGE 1455TL-B560 | inverter za HEE | B | SNO
INGETEAM | INGECON SUN STORAGE 1480TL-B570 | inverter za HEE | B | SNO
INGETEAM | INGECON SUN STORAGE 1500TL-B578 | inverter za HEE | B | SNO
INGETEAM | INGECON SUN STORAGE 1532TL-B590 | inverter za HEE | B | SNO
INGETEAM | INGECON SUN STORAGE 1560TL-B600 | inverter za HEE | B | SNO
INGETEAM | INGECON SUN STORAGE 1585TL-B610 | inverter za HEE | B | SNO
INGETEAM | INGECON SUN STORAGE 1600TL-B615 | inverter za HEE | B | SNO

## Sinexcel
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Shenzhen Sinexcel Electric | PWS1-500KTL-EX-1M1 | inverter za HEE | A, B | NNO
Shenzhen Sinexcel Electric | PWS1-500KTL-EX-2M1 | inverter za HEE | A, B | NNO
Shenzhen Sinexcel Electric | PWS1-500KTL-EX-3M1 | inverter za HEE | A, B | NNO
Shenzhen Sinexcel Electric | PWS1-500KTL-EX-4M1 | inverter za HEE | A, B | NNO
Shenzhen Sinexcel Electric | PWS1-500KTL-EX-2M4 | inverter za HEE | A, B | NNO
Shenzhen Sinexcel Electric | PWS1-500KTL-EX-4M4 | inverter za HEE | A, B | NNO
Shenzhen Sinexcel Electric | PWS1-500KTL-EX-1M8 | inverter za HEE | A, B | NNO
Shenzhen Sinexcel Electric | PWS1-500KTL-EX-2M8 | inverter za HEE | A, B | NNO
Shenzhen Sinexcel Electric | PWS1-500KTL-EX-3M8 | inverter za HEE | A, B | NNO
Shenzhen Sinexcel Electric | PWS1-500KTL-EX-4M8 | inverter za HEE | A, B | NNO

## Sanjing
Proizvajalec | Model | Vrsta opreme | Tip
Guangzhou Sanjing Electric | HS2-5K-T-X | inverter za HEE | A
Guangzhou Sanjing Electric | HS2-6K-T-X | inverter za HEE | A
Guangzhou Sanjing Electric | HS2-8K-T-X | inverter za HEE | A
Guangzhou Sanjing Electric | HS2-10K-T-X | inverter za HEE | A
Guangzhou Sanjing Electric | HS2-5K-T-X-WIFI | inverter za HEE | A
Guangzhou Sanjing Electric | HS2-6K-T-X-WIFI | inverter za HEE | A
Guangzhou Sanjing Electric | HS2-8K-T-X-WIFI | inverter za HEE | A
Guangzhou Sanjing Electric | HS2-10K-T-X-WIFI | inverter za HEE | A
Guangzhou Sanjing Electric | HS2-10K-T-B-X-WIFI | inverter za HEE | A

## XIAMEN E-star
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
XIAMEN E-star Energy | HERF-600 | mikrorazsmernik | A | NNO
XIAMEN E-star Energy | HERF-800 | mikrorazsmernik | A | NNO
XIAMEN E-star Energy | HERF-1000 | mikrorazsmernik | A | NNO

## SUNSYNK
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Sunsynk | SYNK-8K-SG04LP3 | hibridni razsmernik | A | NNO
Sunsynk | SYNK-10K-SG04LP3 | hibridni razsmernik | A | NNO
Sunsynk | SYNK-12K-SG04LP3 | hibridni razsmernik | A | NNO
Sunsynk | SYNK-3.6K-SG05LP1 | hibridni razsmernik | A | NNO
Sunsynk | SYNK-5K-SG05LP1 | hibridni razsmernik | A | NNO
Sunsynk | SYNK-8K-SG05LP1 | hibridni razsmernik | A | NNO
Sunsynk | SUNSYNK-50K-SG01HP3-EU-BM4 | hibridni razsmernik | A | NNO

## Vacon Oy
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Vacon Oy | NXI_0208_6 | inverter za HEE | B | NNO, SNO
Vacon Oy | NXI_1180_6 | inverter za HEE | B | NNO, SNO
Vacon Oy | NXI_1500_6 | inverter za HEE | B | NNO, SNO
Vacon Oy | NXI_1900_6 | inverter za HEE | B | NNO, SNO
Vacon Oy | NXA_0920_6 | inverter za HEE | B | NNO, SNO
Vacon Oy | NXA_1030_6 | inverter za HEE | B | NNO, SNO

## Sieyuan Watten
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Sieyuan Watten Technology | SiH-5kW-TH | hibridni razsmernik | A | NNO
Sieyuan Watten Technology | SiH-6kW-TH | hibridni razsmernik | A | NNO
Sieyuan Watten Technology | SiH-8kW-TH | hibridni razsmernik | A | NNO
Sieyuan Watten Technology | SiH-10kW-TH | hibridni razsmernik | A | NNO
Sieyuan Watten Technology | SiH-3.6kW-SL | hibridni razsmernik | A | NNO
Sieyuan Watten Technology | SiH-5kW-SL | hibridni razsmernik | A | NNO
Sieyuan Watten Technology | SiH-6kW-SL | hibridni razsmernik | A | NNO

## Shenzhen Enjoy
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Shenzhen Enjoy Technology | EPCS30-AM | inverter za HEE | A | NNO
Shenzhen Enjoy Technology | EPCS50-AM | inverter za HEE | A | NNO
Shenzhen Enjoy Technology | EPCS63-AM | inverter za HEE | A | NNO
Shenzhen Enjoy Technology | EPCS80-AM | inverter za HEE | A | NNO
Shenzhen Enjoy Technology | EPCS105-AM | inverter za HEE | A | NNO
Shenzhen Enjoy Technology | EPCS105-AM-F | inverter za HEE | A | NNO

## ZCS
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
ZCS | AZZURRO 3PH 50000TL-V1 | razsmernik | A, B | NNO
ZCS | AZZURRO 3PH 60000TL-V1 | razsmernik | A, B | NNO
ZCS | AZZURRO 3PH 70000TL-V1 | razsmernik | A, B | NNO

## Solinteg
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Solinteg Power | MHT-4K-25 | hibridni razsmernik | A | NNO
Solinteg Power | MHT-5K-25 | hibridni razsmernik | A | NNO
Solinteg Power | MHT-6K-25 | hibridni razsmernik | A | NNO
Solinteg Power | MHT-8K-25 | hibridni razsmernik | A | NNO
Solinteg Power | MHT-10K-25 | hibridni razsmernik | A | NNO
Solinteg Power | MHT-12K-25 | hibridni razsmernik | A | NNO
Solinteg Power | MHT-10K-40 | hibridni razsmernik | A | NNO
Solinteg Power | MHT-12K-40 | hibridni razsmernik | A | NNO
Solinteg Power | MHT-15K-40 | hibridni razsmernik | A | NNO
Solinteg Power | MHT-20K-40 | hibridni razsmernik | A | NNO

## Sigen Energy
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Sigen New Energy Technology | SigenStor EC 5.0 TP | hibridni razsmernik | A | NNO
Sigen New Energy Technology | SigenStor EC 6.0 TP | hibridni razsmernik | A | NNO
Sigen New Energy Technology | SigenStor EC 8.0 TP | hibridni razsmernik | A | NNO
Sigen New Energy Technology | SigenStor EC 10.0 TP | hibridni razsmernik | A | NNO
Sigen New Energy Technology | SigenStor EC 12.0 TP | hibridni razsmernik | A | NNO
Sigen New Energy Technology | SigenStor EC 15.0 TP | hibridni razsmernik | A | NNO
Sigen New Energy Technology | SigenStor EC 17.0 TP | hibridni razsmernik | A | NNO
Sigen New Energy Technology | SigenStor EC 20.0 TP | hibridni razsmernik | A | NNO
Sigen New Energy Technology | SigenStor EC 25.0 TP | hibridni razsmernik | A | NNO
Sigen New Energy Technology | Sigen Hybrid 5.0 TP | hibridni razsmernik | A | NNO
Sigen New Energy Technology | Sigen Hybrid 6.0 TP | hibridni razsmernik | A | NNO
Sigen New Energy Technology | Sigen Hybrid 8.0 TP | hibridni razsmernik | A | NNO
Sigen New Energy Technology | Sigen Hybrid 10.0 TP | hibridni razsmernik | A | NNO
Sigen New Energy Technology | Sigen Hybrid 12.0 TP | hibridni razsmernik | A | NNO
Sigen New Energy Technology | Sigen Hybrid 15.0 TP | hibridni razsmernik | A | NNO
Sigen New Energy Technology | Sigen Hybrid 17.0 TP | hibridni razsmernik | A | NNO
Sigen New Energy Technology | Sigen Hybrid 20.0 TP | hibridni razsmernik | A | NNO
Sigen New Energy Technology | Sigen Hybrid 25.0 TP | hibridni razsmernik | A | NNO
Sigen New Energy Technology | Sigen PV Max 5.0 TP | razsmernik | A | NNO
Sigen New Energy Technology | Sigen PV Max 6.0 TP | razsmernik | A | NNO
Sigen New Energy Technology | Sigen PV Max 8.0 TP | razsmernik | A | NNO
Sigen New Energy Technology | Sigen PV Max 10.0 TP | razsmernik | A | NNO
Sigen New Energy Technology | Sigen PV Max 12.0 TP | razsmernik | A | NNO
Sigen New Energy Technology | Sigen PV Max 15.0 TP | razsmernik | A | NNO
Sigen New Energy Technology | Sigen PV Max 17.0 TP | razsmernik | A | NNO
Sigen New Energy Technology | Sigen PV Max 20.0 TP | razsmernik | A | NNO
Sigen New Energy Technology | Sigen PV Max 25.0 TP | razsmernik | A | NNO

## Dai-Tech
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Dai-Tech | Astris 3K/1P1T1 | razsmernik | A | NNO
Dai-Tech | Astris 5K/1P2T2 | razsmernik | A | NNO
Dai-Tech | Astris 6K/3P2T2 | razsmernik | A | NNO
Dai-Tech | Astris 8K/3P2T2 | razsmernik | A | NNO
Dai-Tech | Astris 10K/3P2T2 | razsmernik | A | NNO
Dai-Tech | Astris 10K/3P2T3 | razsmernik | A | NNO
Dai-Tech | Astris 12K/3P2T3 | razsmernik | A | NNO
Dai-Tech | Astris 15K/3P2T3 | razsmernik | A | NNO
Dai-Tech | Astris 20K/3P2T4 | razsmernik | A | NNO
Dai-Tech | Astris 25K/3P2T4 | razsmernik | A | NNO
Dai-Tech | Ascet 5K-120/1P2T2 | hibridni razsmernik | A | NNO

## Hunan Lenercom
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Hunan Lenercom Technology | LC-E2-615T | HEE | A | NNO
Hunan Lenercom Technology | LC-E2-620T | HEE | A | NNO
Hunan Lenercom Technology | LC-E2-625T | HEE | A | NNO
Hunan Lenercom Technology | LC-E2-630T | HEE | A | NNO
Hunan Lenercom Technology | LC-E2-610T-G | HEE | A | NNO
Hunan Lenercom Technology | LC-E2-615T-G | HEE | A | NNO
Hunan Lenercom Technology | LC-E2-620T-G | HEE | A | NNO
Hunan Lenercom Technology | LC-E2-815T | HEE | A | NNO
Hunan Lenercom Technology | LC-E2-820T | HEE | A | NNO
Hunan Lenercom Technology | LC-E2-825T | HEE | A | NNO
Hunan Lenercom Technology | LC-E2-830T | HEE | A | NNO
Hunan Lenercom Technology | LC-E2-835T | HEE | A | NNO
Hunan Lenercom Technology | LC-E2-810T-G | HEE | A | NNO
Hunan Lenercom Technology | LC-E2-815T-G | HEE | A | NNO
Hunan Lenercom Technology | LC-E2-820T-G | HEE | A | NNO
Hunan Lenercom Technology | LC-E2-1015T | HEE | A | NNO
Hunan Lenercom Technology | LC-E2-1020T | HEE | A | NNO
Hunan Lenercom Technology | LC-E2-1025T | HEE | A | NNO
Hunan Lenercom Technology | LC-E2-1030T | HEE | A | NNO
Hunan Lenercom Technology | LC-E2-1035T | HEE | A | NNO
Hunan Lenercom Technology | LC-E2-1040T | HEE | A | NNO
Hunan Lenercom Technology | LC-E2-1045T | HEE | A | NNO
Hunan Lenercom Technology | LC-E2-1010T-G | HEE | A | NNO
Hunan Lenercom Technology | LC-E2-1015T-G | HEE | A | NNO
Hunan Lenercom Technology | LC-E2-1020T-G | HEE | A | NNO
Hunan Lenercom Technology | LC-E2-1225T | HEE | A | NNO
Hunan Lenercom Technology | LC-E2-1230T | HEE | A | NNO
Hunan Lenercom Technology | LC-E2-1235T | HEE | A | NNO
Hunan Lenercom Technology | LC-E2-1240T | HEE | A | NNO
Hunan Lenercom Technology | LC-E2-1245T | HEE | A | NNO
Hunan Lenercom Technology | LC-E2-1210T-G | HEE | A | NNO
Hunan Lenercom Technology | LC-E2-1215T-G | HEE | A | NNO
Hunan Lenercom Technology | LC-E2-1220T-G | HEE | A | NNO
Hunan Lenercom Technology | LC-E2-1535T | HEE | A | NNO
Hunan Lenercom Technology | LC-E2-1540T | HEE | A | NNO
Hunan Lenercom Technology | LC-E2-1545T | HEE | A | NNO
Hunan Lenercom Technology | LC-E2-1510T-G | HEE | A | NNO
Hunan Lenercom Technology | LC-E2-1515T-G | HEE | A | NNO
Hunan Lenercom Technology | LC-E2-1520T-G | HEE | A | NNO

## Axitec
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Axitec Energy | AXIhycon 5H | hibridni razsmernik | A | NNO
Axitec Energy | AXIhycon 6H | hibridni razsmernik | A | NNO
Axitec Energy | AXIhycon 8H | hibridni razsmernik | A | NNO
Axitec Energy | AXIhycon 10H | hibridni razsmernik | A | NNO

## Ekovit
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Ekovit | Ekowatt 7G (4 kW) | SPTE | A | NNO
Ekovit | Ekowatt 7G (5 kW) | SPTE | A | NNO
Ekovit | Ekowatt 7G (6 kW) | SPTE | A | NNO
Ekovit | Ekowatt 7G (7 kW) | SPTE | A | NNO
Ekovit | Ekowatt 7G (8 kW) | SPTE | A | NNO
Ekovit | Ekowatt 7G (9 kW) | SPTE | A | NNO
Ekovit | Ekowatt 7G (10 kW) | SPTE | A | NNO

## Hiconics
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Hiconics | HEC2-S 3.8Hr2 | hibridni razsmernik | A | NNO
Hiconics | HEC2-S 5Hr2 | hibridni razsmernik | A | NNO
Hiconics | HEC2-S 6Hr2 | hibridni razsmernik | A | NNO