## Solaredge
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Solaredge | SE3k | razsmernik | A,B | NNO
Solaredge | SE4k | razsmernik | A,B | NNO
Solaredge | SE5k | razsmernik | A,B | NNO
Solaredge | SE6k | razsmernik | A,B | NNO
Solaredge | SE7k | razsmernik | A,B | NNO
Solaredge | SE8k | razsmernik | A,B | NNO
Solaredge | SE9k | razsmernik | A,B | NNO
Solaredge | SE10k | razsmernik | A,B | NNO
Solaredge | SE5k-RWS | hibridni razsmernik | A,B | NNO
Solaredge | SE7k-RWS | hibridni razsmernik | A,B | NNO
Solaredge | SE8k-RWS | hibridni razsmernik | A,B | NNO
Solaredge | SE10k-RWS | hibridni razsmernik | A,B | NNO
Solaredge | SE12,5k | razsmernik | A,B | NNO
Solaredge | SE15k | razsmernik | A,B | NNO
Solaredge | SE16k | razsmernik | A,B | NNO
Solaredge | SE17k | razsmernik | A,B | NNO
Solaredge | SE25k | razsmernik | A,B | NNO
Solaredge | SE27,6k | razsmernik | A,B | NNO
Solaredge | SE30k | razsmernik | A,B | NNO
Solaredge | SE33,3k | razsmernik | A,B | NNO
Solaredge | SE40k | razsmernik | A,B | NNO
Solaredge | SE2200H | razsmernik | A | NNO
Solaredge | SE3000H | razsmernik | A | NNO
Solaredge | SE3500H | razsmernik | A | NNO
Solaredge | SE3680H | razsmernik | A | NNO
Solaredge | SE4000H | razsmernik | A | NNO
Solaredge | SE5000H | razsmernik | A | NNO
Solaredge | SE6000H | razsmernik | A | NNO
Solaredge | SE50k | razsmernik | A,B | NNO
Solaredge | SE55k | razsmernik | A,B | NNO
Solaredge | SE66,6k | razsmernik | A,B | NNO
Solaredge | SE82,8k | razsmernik | A,B | NNO
Solaredge | SE100k | razsmernik | A,B | NNO
Solaredge | SE90k | razsmernik | A,B | NNO
Solaredge | SE20k | razsmernik | A,B | NNO
Solaredge | SE5k-RWB48 | hibridni razsmernik | A | NNO
Solaredge | SE7k-RWB48 | hibridni razsmernik | A | NNO
Solaredge | SE8k-RWB48 | hibridni razsmernik | A | NNO
Solaredge | SE10k-RWB48 | hibridni razsmernik | A | NNO

## Jiangsu Goodwe
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Jiangsu Goodwe | GW4K-DT | razsmernik | A | NNO
Jiangsu Goodwe | GW5K-DT | razsmernik | A | NNO
Jiangsu Goodwe | GW6K-DT | razsmernik | A | NNO
Jiangsu Goodwe | GW8K-DT | razsmernik | A | NNO
Jiangsu Goodwe | GW10KT-DT | razsmernik | A | NNO
Jiangsu Goodwe | GW12KT-DT | razsmernik | A | NNO
Jiangsu Goodwe | GW15KT-DT | razsmernik | A | NNO
Jiangsu Goodwe | GW20KT-DT | razsmernik | A | NNO
Goodwe Technologies | GW5K-ET | hibridni razsmernik | A | NNO
Goodwe Technologies | GW6.5K-ET | hibridni razsmernik | A | NNO
Goodwe Technologies | GW8K-ET | hibridni razsmernik | A | NNO
Goodwe Technologies | GW10K-ET | hibridni razsmernik | A | NNO
Goodwe Technologies | GW5KN-ET | hibridni razsmernik | A | NNO
Goodwe Technologies | GW6.5KN-ET | hibridni razsmernik | A | NNO
Goodwe Technologies | GW8KN-ET | hibridni razsmernik | A | NNO
Goodwe Technologies | GW10KN-ET | hibridni razsmernik | A | NNO
Goodwe Technologies | GW15K-ET | hibridni razsmernik | A | NNO
Goodwe Technologies | GW20K-ET | hibridni razsmernik | A | NNO
Goodwe Technologies | GW25K-ET | hibridni razsmernik | A | NNO
Goodwe Technologies | GW29.9K-ET | hibridni razsmernik | A | NNO
Goodwe Technologies | GW30K-ET | hibridni razsmernik | A | NNO

## SMA
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
SMA | STP3.0-3AV-40 | razsmernik | A | NNO
SMA | STP4.0-3AV-40 | razsmernik | A | NNO
SMA | STP5.0-3AV-40 | razsmernik | A | NNO
SMA | STP6.0-3AV-40 | razsmernik | A | NNO
SMA | STP8.0-3AV-40 | razsmernik | A | NNO
SMA | STP10.0-3AV-40 | razsmernik | A | NNO
SMA | STP 15000TL-30 | razsmernik | A | NNO
SMA | STP 17000TL-30 | razsmernik | A | NNO
SMA | STP 20000TL-30 | razsmernik | A | NNO
SMA | STP 25000TL-30 | razsmernik | A | NNO
SMA | SB1.5-1VL-40 | razsmernik | A | NNO
SMA | SB2.0-1VL-40 | razsmernik | A | NNO
SMA | SB2.5-1VL-40 | razsmernik | A | NNO
SMA | SB3.0-1VL-41 | razsmernik | A | NNO
SMA | SB3.6-1VL-41 | razsmernik | A | NNO
SMA | SB4.0-1VL-41 | razsmernik | A | NNO
SMA | SB5.0-1VL-41 | razsmernik | A | NNO
SMA | SB6.0-1VL-41 | razsmernik | A | NNO
SMA | STP 110-60 | razsmernik | A,B | NNO, SNO
SMA | STP 50-40 | razsmernik | A | NNO
SMA | STP 50-41 | razsmernik | A | NNO
SMA | SBS 3,7-10 | hibridni razsmernik | A | NNO
SMA | SBS 5-10 | hibridni razsmernik | A | NNO
SMA | SBS 6-10 | hibridni razsmernik | A | NNO
SMA | STP 12-50 | razsmernik | A | NNO
SMA | STP 15-50 | razsmernik | A | NNO
SMA | STP 20-50 | razsmernik | A | NNO
SMA | STP 25-50 | razsmernik | A | NNO
SMA | SI4.4M-13 | hibridni razsmernik | A | NNO
SMA | SI6.0H-13 | hibridni razsmernik | A | NNO
SMA | SI8.0H-13 | hibridni razsmernik | A | NNO

## NGEN Tesla
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Tesla | Powerwall #1092170 | HEE | A | NNO
Tesla | Powerwall #2012170 | HEE | A | NNO
Tesla | Powerwall #3012170 | HEE | A | NNO
Tesla | Powerstage #1134768 | inverter za HEE | A, B | NNO, SNO

## Huawei
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Huawei | SUN2000-3KTL-M0 | hibridni razsmernik | A | NNO
Huawei | SUN2000-4KTL-M0 | hibridni razsmernik | A | NNO
Huawei | SUN2000-5KTL-M0 | hibridni razsmernik | A | NNO
Huawei | SUN2000-6KTL-M0 | hibridni razsmernik | A | NNO
Huawei | SUN2000-8KTL-M0 | hibridni razsmernik | A | NNO
Huawei | SUN2000-10KTL-M0 | hibridni razsmernik | A | NNO
Huawei | SUN2000-3KTL-M1 | hibridni razsmernik | A | NNO
Huawei | SUN2000-4KTL-M1 | hibridni razsmernik | A | NNO
Huawei | SUN2000-5KTL-M1 | hibridni razsmernik | A | NNO
Huawei | SUN2000-6KTL-M1 | hibridni razsmernik | A | NNO
Huawei | SUN2000-8KTL-M1 | hibridni razsmernik | A | NNO
Huawei | SUN2000-10KTL-M1 | hibridni razsmernik | A | NNO
Huawei | SUN2000-12KTL-M0 | razsmernik | A | NNO
Huawei | SUN2000-15KTL-M0 | razsmernik | A | NNO
Huawei | SUN2000-17KTL-M0 | razsmernik | A | NNO
Huawei | SUN2000-20KTL-M0 | razsmernik | A | NNO
Huawei | SUN2000-8KTL-M2 | razsmernik | A | NNO
Huawei | SUN2000-10KTL-M2 | razsmernik | A | NNO
Huawei | SUN2000-12KTL-M2 | razsmernik | A | NNO
Huawei | SUN2000-15KTL-M2 | razsmernik | A | NNO
Huawei | SUN2000-17KTL-M2 | razsmernik | A | NNO
Huawei | SUN2000-20KTL-M2 | razsmernik | A | NNO
Huawei | SUN2000-100KTL-M1 | razsmernik | A,B | NNO, SNO
Huawei | SUN2000-30KTL-M3 | razsmernik | A,B | NNO, SNO
Huawei | SUN2000-36KTL-M3 | razsmernik | A,B | NNO, SNO
Huawei | SUN2000-40KTL-M3 | razsmernik | A,B | NNO, SNO
Huawei | SUN2000-168KTL-H1 | razsmernik | B | SNO
Huawei | SUN2000-185KTL-H1 | razsmernik | B | SNO
Huawei | SUN2000-215KTL-H0 | razsmernik | B | SNO
Huawei | SUN2000-2KTL-L1 | hibridni razsmernik | A | NNO
Huawei | SUN2000-3KTL-L1 | hibridni razsmernik | A | NNO
Huawei | SUN2000-3.68KTL-L1 | hibridni razsmernik | A | NNO
Huawei | SUN2000-4KTL-L1 | hibridni razsmernik | A | NNO
Huawei | SUN2000-4.6KTL-L1 | hibridni razsmernik | A | NNO
Huawei | SUN2000-5KTL-L1 | hibridni razsmernik | A | NNO
Huawei | SUN2000-6KTL-L1 | hibridni razsmernik | A | NNO
Huawei | SUN2000-50KTL-M0 | razsmernik | A,B | NNO
Huawei | SUN2000-60KTL-M0 | razsmernik | A,B | NNO
Huawei | SUN2000-50KTL-M0 | razsmernik | A,B | NNO, SNO
Huawei | SUN2000-60KTL-M0 | razsmernik | A,B | NNO, SNO
Huawei | SUN2000-50KTL-M3 | razsmernik | A,B | NNO
Huawei | SUN2000-12KTL-M5 | razsmernik | A | NNO
Huawei | SUN2000-15KTL-M5 | razsmernik | A | NNO
Huawei | SUN2000-17KTL-M5 | razsmernik | A | NNO
Huawei | SUN2000-20KTL-M5 | razsmernik | A | NNO
Huawei | SUN2000-25KTL-M5 | razsmernik | A | NNO
Huawei | SUN2000-100KTL-M2 | razsmernik | A,B | NNO
Huawei | SUN2000-115KTL-M2 | razsmernik | A,B | NNO

## Hoymiles
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Hoymiles | HMS-300-1T | mikrorazsmernik | A | NNO
Hoymiles | HMS-350-1T | mikrorazsmernik | A | NNO
Hoymiles | HMS-400-1T | mikrorazsmernik | A | NNO
Hoymiles | HMS-600-2T | mikrorazsmernik | A | NNO
Hoymiles | HMS-700-2T | mikrorazsmernik | A | NNO
Hoymiles | HMS-800-2T | mikrorazsmernik | A | NNO
Hoymiles | HMS-1000-4T | mikrorazsmernik | A | NNO
Hoymiles | HMS-1200-4T | mikrorazsmernik | A | NNO
Hoymiles | HMS-1500-4T | mikrorazsmernik | A | NNO
Hoymiles | HM-300 | mikrorazsmernik | A | NNO
Hoymiles | HM-350 | mikrorazsmernik | A | NNO
Hoymiles | HM-400 | mikrorazsmernik | A | NNO
Hoymiles | HM-600 | mikrorazsmernik | A | NNO
Hoymiles | HM-700 | mikrorazsmernik | A | NNO
Hoymiles | HM-800 | mikrorazsmernik | A | NNO
Hoymiles | HM-1000 | mikrorazsmernik | A | NNO
Hoymiles | HM-1200 | mikrorazsmernik | A | NNO
Hoymiles | HM-1500 | mikrorazsmernik | A | NNO
Hoymiles | HMT-1800-6T | mikrorazsmernik | A | NNO
Hoymiles | HMT-2250-6T | mikrorazsmernik | A | NNO
Hoymiles | HMS-2000-4T | mikrorazsmernik | A | NNO
Hoymiles | HMS-450-1T | mikrorazsmernik | A | NNO
Hoymiles | HMS-600-2T | mikrorazsmernik | A | NNO
Hoymiles | HMS-700-2T | mikrorazsmernik | A | NNO
Hoymiles | HMS-800-2T | mikrorazsmernik | A | NNO

## KACO
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
KACO | Blueplanet 3.0 TL3 M2 WM OD IIG0 | razsmernik | A | NNO
KACO | Blueplanet 4.0 TL3 M2 WM OD IIG0 | razsmernik | A | NNO
KACO | Blueplanet 5.0 TL3 M2 WM OD IIG0 | razsmernik | A | NNO
KACO | Blueplanet 6.5 TL3 M2 WM OD IIG0 | razsmernik | A | NNO
KACO | Blueplanet 7.5 TL3 M2 WM OD IIG0 | razsmernik | A | NNO
KACO | Blueplanet 8.6 TL3 M2 WM OD IIG0 | razsmernik | A | NNO
KACO | Blueplanet 9.0 TL3 M2 WM OD IIG0 | razsmernik | A | NNO
KACO | Blueplanet 10.0 TL3 M2 WM OD IIG0 | razsmernik | A | NNO
KACO | Blueplanet 15.0 TL3 M2 WM OD IIG0 | razsmernik | A | NNO
KACO | Blueplanet 20.0 TL3 M2 WM OD IIG0 | razsmernik | A | NNO
KACO | Blueplanet 3.0 NX1 M2 WM OD II90 | razsmernik | A | NNO
KACO | Blueplanet 3.7 NX1 M2 WM OD II90 | razsmernik | A | NNO
KACO | Blueplanet 4.0 NX1 M2 WM OD II90 | razsmernik | A | NNO
KACO | Blueplanet 5.0 NX1 M2 WM OD II90 | razsmernik | A | NNO
KACO | Blueplanet 3.0 NX3 M2 WM OD II90 | razsmernik | A | NNO
KACO | Blueplanet 5.0 NX3 M2 WM OD II90 | razsmernik | A | NNO
KACO | Blueplanet 8.0 NX3 M2 WM OD II90 | razsmernik | A | NNO
KACO | Blueplanet 10.0 NX3 M2 WM OD II90 | razsmernik | A | NNO
KACO | Blueplanet 15.0 NX3 M2 WM OD II90 | razsmernik | A | NNO
KACO | Blueplanet 20.0 NX3 M2 WM OD II90 | razsmernik | A | NNO

## Ningbo Austa
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Ningbo Austa | Austa-3P4K1G | razsmernik | A,B | NNO
Ningbo Austa | Austa-3P5K1G | razsmernik | A,B | NNO
Ningbo Austa | Austa-3P6K1G | razsmernik | A,B | NNO
Ningbo Austa | Austa-3P7K1G | razsmernik | A,B | NNO
Ningbo Austa | Austa-3P8K1G | razsmernik | A,B | NNO
Ningbo Austa | Austa-3P10K1G | razsmernik | A,B | NNO
Ningbo Austa | Austa-3P12K1G | razsmernik | A,B | NNO
Ningbo Austa | Austa-3P15K1G | razsmernik | A,B | NNO
Ningbo Austa | AU-3P5K1G-LE-EU | hibridni razsmernik | A | NNO
Ningbo Austa | AU-3P6K1G-LE-EU | hibridni razsmernik | A | NNO
Ningbo Austa | AU-3P8K1G-LE-EU | hibridni razsmernik | A | NNO
Ningbo Austa | AU-3P10K1G-LE-EU | hibridni razsmernik | A | NNO
Ningbo Austa | AU-3P12K1G-LE-EU | hibridni razsmernik | A | NNO
Ningbo Austa | AU-3P18K1G | razsmernik | A,B | NNO
Ningbo Austa | AU-3P20K1G | razsmernik | A,B | NNO
Ningbo Austa | AU-3P25K1G | razsmernik | A,B | NNO
Ningbo Austa | AU-3P30K1G | razsmernik | A,B | NNO
Ningbo Austa | AU-3P33K1G | razsmernik | A,B | NNO
Ningbo Austa | AU-3P35K1G | razsmernik | A,B | NNO
Ningbo Austa | AU-3P36K1G | razsmernik | A,B | NNO
Ningbo Austa | AU-3P40K1G | razsmernik | A,B | NNO
Ningbo Austa | AU-3P50K1G | razsmernik | A,B | NNO
Ningbo Austa | AU-3P60K1G | razsmernik | A,B | NNO
Ningbo Austa | AU-3P70K1G | razsmernik | A,B | NNO
Ningbo Austa | AU-3P75K1G | razsmernik | A,B | NNO
Ningbo Austa | AU-3P80K1G | razsmernik | A,B | NNO
Ningbo Austa | AU-3P90K1G | razsmernik | A,B | NNO
Ningbo Austa | AU-3P100K1G | razsmernik | A,B | NNO
Ningbo Austa | AU-3P110K1G | razsmernik | A,B | NNO

## SolaX
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
SolaX Power Network Technology | X3-8.0P-T-N | razsmernik | A | NNO
SolaX Power Network Technology | X3-10.0P-T-N | razsmernik | A | NNO
SolaX Power Network Technology | X3-12.0P-T-N | razsmernik | A | NNO
SolaX Power Network Technology | X3-15.0P-T-N | razsmernik | A | NNO
SolaX Power Network Technology | X3-8.0P-T-D | razsmernik | A | NNO
SolaX Power Network Technology | X3-10.0P-T-D | razsmernik | A | NNO
SolaX Power Network Technology | X3-12.0P-T-D | razsmernik | A | NNO
SolaX Power Network Technology | X3-15.0P-T-D | razsmernik | A | NNO
SolaX Power Network Technology | X3-HYBRID-5.0-D | hibridni razsmernik | A | NNO
SolaX Power Network Technology | X3-HYBRID-5.0-M | hibridni razsmernik | A | NNO
SolaX Power Network Technology | X3-HYBRID-6.0-D | hibridni razsmernik | A | NNO
SolaX Power Network Technology | X3-HYBRID-6.0-M | hibridni razsmernik | A | NNO
SolaX Power Network Technology | X3-HYBRID-8.0-D | hibridni razsmernik | A | NNO
SolaX Power Network Technology | X3-HYBRID-8.0-M | hibridni razsmernik | A | NNO
SolaX Power Network Technology | X3-HYBRID-10.0-D | hibridni razsmernik | A | NNO
SolaX Power Network Technology | X3-HYBRID-10.0-M | hibridni razsmernik | A | NNO
SolaX Power Network Technology | X3-HYBRID-12.0-D | hibridni razsmernik | A | NNO
SolaX Power Network Technology | X3-HYBRID-12.0-M | hibridni razsmernik | A | NNO
SolaX Power Network Technology | X3-HYBRID-15.0-D | hibridni razsmernik | A | NNO
SolaX Power Network Technology | X3-HYBRID-15.0-M | hibridni razsmernik | A | NNO
SolaX Power Network Technology | X3-MIC-3K-G2 | razsmernik | A | NNO
SolaX Power Network Technology | X3-MIC-4K-G2 | razsmernik | A | NNO
SolaX Power Network Technology | X3-MIC-5K-G2 | razsmernik | A | NNO
SolaX Power Network Technology | X3-MIC-6K-G2 | razsmernik | A | NNO
SolaX Power Network Technology | X3-MIC-8K-G2 | razsmernik | A | NNO
SolaX Power Network Technology | X3-MIC-10K-G2 | razsmernik | A | NNO
SolaX Power Network Technology | X3-MIC-12K-G2 | razsmernik | A | NNO
SolaX Power Network Technology | X3-MIC-15K-G2 | razsmernik | A | NNO
SolaX Power Network Technology | X3-PRO-8K-G2 | razsmernik | A | NNO
SolaX Power Network Technology | X3-PRO-10K-G2 | razsmernik | A | NNO
SolaX Power Network Technology | X3-PRO-12K-G2 | razsmernik | A | NNO
SolaX Power Network Technology | X3-PRO-15K-G2 | razsmernik | A | NNO
SolaX Power Network Technology | X3-PRO-17K-G2 | razsmernik | A | NNO
SolaX Power Network Technology | X3-PRO-20K-G2 | razsmernik | A | NNO
SolaX Power Network Technology | X3-PRO-25K-G2 | razsmernik | A | NNO
SolaX Power Network Technology | X3-PRO-30K-G2 | razsmernik | A | NNO
SolaX Power Network Technology | X3-MGA-40K-G2 | razsmernik | A, B | NNO
SolaX Power Network Technology | X3-MGA-50K-G2 | razsmernik | A, B | NNO
SolaX Power Network Technology | X3-MGA-60K-G2 | razsmernik | A, B | NNO
SolaX Power Network Technology | X3-FTH-80K | razsmernik | A, B | NNO
SolaX Power Network Technology | X3-FTH-100K | razsmernik | A, B | NNO
SolaX Power Network Technology | X3-FTH-110K | razsmernik | A, B | NNO
SolaX Power Network Technology | X3-FTH-120K | razsmernik | A, B | NNO
SolaX Power Network Technology | X3-FTH-125K | razsmernik | A, B | NNO

## Guangzhou Sanjing
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Guangzhou Sanjing | R5-3K-T2 | razsmernik | A | NNO
Guangzhou Sanjing | R5-4K-T2 | razsmernik | A | NNO
Guangzhou Sanjing | R5-5K-T2 | razsmernik | A | NNO
Guangzhou Sanjing | R5-6K-T2 | razsmernik | A | NNO
Guangzhou Sanjing | R5-8K-T2 | razsmernik | A | NNO
Guangzhou Sanjing | R5-9K-T2 | razsmernik | A | NNO
Guangzhou Sanjing | R5-10K-T2 | razsmernik | A | NNO
Guangzhou Sanjing | R5-12K-T2 | razsmernik | A | NNO

## Fimer
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Fimer | PVS-10-TL-SX | razsmernik | A, B | NNO
Fimer | PVS-10-TL-SY | razsmernik | A, B | NNO
Fimer | PVS-12.5-TL-SX | razsmernik | A, B | NNO
Fimer | PVS-12.5-TL-SY | razsmernik | A, B | NNO
Fimer | PVS-15-TL-SX | razsmernik | A, B | NNO
Fimer | PVS-15-TL-SY | razsmernik | A, B | NNO
Fimer | PVS-20-TL-SX | razsmernik | A, B | NNO
Fimer | PVS-20-TL-SY | razsmernik | A, B | NNO
Fimer | PVS-20-TL-SXD | razsmernik | A, B | NNO
Fimer | PVS-30-TL-SX | razsmernik | A, B | NNO
Fimer | PVS-30-TL-SY | razsmernik | A, B | NNO
Fimer | PVS-33-TL-SX | razsmernik | A, B | NNO
Fimer | PVS-33-TL-SY | razsmernik | A, B | NNO
Fimer | PVS-33-TL-SI | razsmernik | A, B | NNO
Fimer | PVS-50-TL | razsmernik | A, B | NNO
Fimer | PVS-50-TL-S | razsmernik | A, B | NNO
Fimer | PVS-50-TL-SX | razsmernik | A, B | NNO
Fimer | PVS-50-TL-SX2 | razsmernik | A, B | NNO
Fimer | PVS-100-TL | razsmernik | A, B | NNO
Fimer | TRIO-20.0-TL-OUTD-400 | razsmernik | A, B | NNO
Fimer | TRIO-20.0-TL-OUTD-S1J-400 | razsmernik | A, B | NNO
Fimer | TRIO-20.0-TL-OUTD-S2J-400 | razsmernik | A, B | NNO
Fimer | TRIO-20.0-TL-OUTD-S2-400 | razsmernik | A, B | NNO
Fimer | TRIO-20.0-TL-OUTD-S2X-400 | razsmernik | A, B | NNO
Fimer | TRIO-20.0-TL-OUTD-S2F-400 | razsmernik | A, B | NNO
Fimer | TRIO-20.0-TL-OUTD-400-W | razsmernik | A, B | NNO
Fimer | TRIO-27.6-TL-OUTD-400 | razsmernik | A, B | NNO
Fimer | TRIO-27.6-TL-OUTD-S1J-400 | razsmernik | A, B | NNO
Fimer | TRIO-27.6-TL-OUTD-S2J-400 | razsmernik | A, B | NNO
Fimer | TRIO-27.6-TL-OUTD-S2-400 | razsmernik | A, B | NNO
Fimer | TRIO-27.6-TL-OUTD-S2X-400 | razsmernik | A, B | NNO
Fimer | TRIO-27.6-TL-OUTD-S2F-400 | razsmernik | A, B | NNO
Fimer | TRIO-27.6-TL-OUTD-400-W | razsmernik | A, B | NNO
Fimer | UNO-DM-1.2-TL-PLUS | razsmernik | A | NNO
Fimer | UNO-DM-2.0-TL-PLUS | razsmernik | A | NNO
Fimer | UNO-DM-3.0-TL-PLUS | razsmernik | A | NNO
Fimer | UNO-DM-3.6-TL-PLUS | razsmernik | A | NNO
Fimer | UNO-DM-4.0-TL-PLUS | razsmernik | A | NNO
Fimer | UNO-DM-4.5-TL-PLUS | razsmernik | A | NNO
Fimer | UNO-DM-5.0-TL-PLUS | razsmernik | A | NNO
Fimer | UNO-DM-6.0-TL-PLUS | razsmernik | A | NNO
Fimer | REACT2-UNO-3.6-TL | hibridni razsmernik | A | NNO
Fimer | REACT2-UNO-5.0-TL | hibridni razsmernik | A | NNO
Fimer | TRIO-5.8-TL-OUTD-400 | razsmernik | A | NNO
Fimer | TRIO-7.5-TL-OUTD-400 | razsmernik | A | NNO
Fimer | TRIO-8.5-TL-OUTD-400 | razsmernik | A | NNO
Fimer | TRIO-5.8-TL-OUTD-S-400 | razsmernik | A | NNO
Fimer | TRIO-7.5-TL-OUTD-S-400 | razsmernik | A | NNO
Fimer | TRIO-8.5-TL-OUTD-S-400 | razsmernik | A | NNO

## Kostal
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Kostal Solar | PIKO MP plus 1.5-1 | razsmernik | A | NNO
Kostal Solar | PIKO MP plus 2.0-1 | razsmernik | A | NNO
Kostal Solar | PIKO MP plus 2.5-1 | razsmernik | A | NNO
Kostal Solar | PIKO MP plus 3.0-1 | razsmernik | A | NNO
Kostal Solar | PIKO MP plus 3.0-2 | razsmernik | A | NNO
Kostal Solar | PIKO MP plus 3.6-1 | razsmernik | A | NNO
Kostal Solar | PIKO MP plus 3.6-2 | razsmernik | A | NNO
Kostal Solar | PIKO MP plus 4.6-2 | razsmernik | A | NNO
Kostal Solar | PIKO MP plus 5.0-2 | razsmernik | A | NNO
Kostal Solar | PLENTICORE 3.0 | razsmernik | A | NNO
Kostal Solar | PLENTICORE 4.2 | razsmernik | A | NNO
Kostal Solar | PLENTICORE 5.5 | razsmernik | A | NNO
Kostal Solar | PLENTICORE 7.0 | razsmernik | A | NNO
Kostal Solar | PLENTICORE 8.5 | razsmernik | A | NNO
Kostal Solar | PLENTICORE 10.0 | razsmernik | A | NNO
Kostal Solar | PIKO 10 | razsmernik | A | NNO
Kostal Solar | PIKO 12 | razsmernik | A | NNO
Kostal Solar | PIKO 15 | razsmernik | A | NNO
Kostal Solar | PIKO 17 | razsmernik | A | NNO
Kostal Solar | PIKO 20 | razsmernik | A | NNO
Kostal Solar | PIKO Cl 30 | razsmernik | A, B | NNO, SNO
Kostal Solar | PIKO Cl 50 | razsmernik | A, B | NNO, SNO
Kostal Solar | PIKO Cl 60 | razsmernik | A, B | NNO, SNO

## Viessmann
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Viessmann | VITOBLOC 200 EM-50/81 | sinhronski generator SPTE | A | NNO
Viessmann | VITOBLOC 200 EM-6/15 | sinhronski generator SPTE | A | NNO
Viessmann | VITOBLOC 200 EM-9/20 | sinhronski generator SPTE | A | NNO
Viessmann | VITOBLOC 200 EM-20/39 | sinhronski generator SPTE | A | NNO
Viessmann | VITOBLOC 200 EM-70/115 | sinhronski generator SPTE | A | NNO
Viessmann | VITOBLOC 200 EM-100/173 | sinhronski generator SPTE | A | NNO
Viessmann | VITOBLOC 200 EM-134/202 | sinhronski generator SPTE | A | NNO

## Victron
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Victron | MultiPlus II 48/3000/35-32 | hibridni razsmernik | A | NNO
Victron | MultiPlus II 48/5000/70-50 | hibridni razsmernik | A | NNO

## Sungrow
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Sungrow | SG 33CX | razsmernik | A, B | NNO, SNO
Sungrow | SG 40CX | razsmernik | A, B | NNO, SNO
Sungrow | SG 50CX | razsmernik | A, B | NNO, SNO
Sungrow | SG 110CX | razsmernik | A, B | NNO, SNO
Sungrow | SG 2.0RS-S | razsmernik | A | NNO
Sungrow | SG 2.5RS-S | razsmernik | A | NNO
Sungrow | SG 3.0RS-S | razsmernik | A | NNO
Sungrow | SG 3.0RS | razsmernik | A | NNO
Sungrow | SG 3.6RS | razsmernik | A | NNO
Sungrow | SG 4.0RS | razsmernik | A | NNO
Sungrow | SG 5.0RS | razsmernik | A | NNO
Sungrow | SG 6.0RS | razsmernik | A | NNO
Sungrow | SG 5.0RT | razsmernik | A | NNO
Sungrow | SG 6.0RT | razsmernik | A | NNO
Sungrow | SG 7.0RT | razsmernik | A | NNO
Sungrow | SG 8.0RT | razsmernik | A | NNO
Sungrow | SG 10.0RT | razsmernik | A | NNO
Sungrow | SG 12.0RT | razsmernik | A | NNO
Sungrow | SG 15.0RT | razsmernik | A | NNO
Sungrow | SG 17.0RT | razsmernik | A | NNO
Sungrow | SG 20.0RT | razsmernik | A | NNO
Sungrow | SG 250HX | razsmernik | B | SNO
Sungrow | SH3.0RS | hibridni razsmernik | A | NNO
Sungrow | SH3.6RS | hibridni razsmernik | A | NNO
Sungrow | SH4.0RS | hibridni razsmernik | A | NNO
Sungrow | SH5.0RS | hibridni razsmernik | A | NNO
Sungrow | SH6.0RS | hibridni razsmernik | A | NNO
Sungrow | SH5.0RT | hibridni razsmernik | A | NNO
Sungrow | SH6.0RT | hibridni razsmernik | A | NNO
Sungrow | SH8.0RT | hibridni razsmernik | A | NNO
Sungrow | SH10.0RT | hibridni razsmernik | A | NNO
Sungrow | SG 125CX-P2 | razsmernik | A, B | NNO, SNO

## Fronius
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Fronius | PRIMO 3.0-1 | razsmernik | A | NNO
Fronius | PRIMO 3.5-1 | razsmernik | A | NNO
Fronius | PRIMO 3.6-1 | razsmernik | A | NNO
Fronius | PRIMO 4.0-1 | razsmernik | A | NNO
Fronius | PRIMO 4.6-1 | razsmernik | A | NNO
Fronius | PRIMO 5.0-1 AUS | razsmernik | A | NNO
Fronius | PRIMO 5.0-1 | razsmernik | A | NNO
Fronius | PRIMO 6.0-1 | razsmernik | A | NNO
Fronius | PRIMO 8.2-1 | razsmernik | A | NNO
Fronius | PRIMO GEN24 3.0 | razsmernik | A | NNO
Fronius | PRIMO GEN24 3.6 | razsmernik | A | NNO
Fronius | PRIMO GEN24 4.0 | razsmernik | A | NNO
Fronius | PRIMO GEN24 4.6 | razsmernik | A | NNO
Fronius | PRIMO GEN24 5.0 | razsmernik | A | NNO
Fronius | PRIMO GEN24 6.0 | razsmernik | A | NNO
Fronius | PRIMO GEN24 3.0 Plus | razsmernik | A | NNO
Fronius | PRIMO GEN24 3.6 Plus | razsmernik | A | NNO
Fronius | PRIMO GEN24 4.0 Plus | razsmernik | A | NNO
Fronius | PRIMO GEN24 4.6 Plus | razsmernik | A | NNO
Fronius | PRIMO GEN24 5.0 Plus | razsmernik | A | NNO
Fronius | PRIMO GEN24 6.0 Plus | razsmernik | A | NNO
Fronius | SYMO 3.0-3-M | razsmernik | A | NNO
Fronius | SYMO 3.7-3-M | razsmernik | A | NNO
Fronius | SYMO 4.5-3-M | razsmernik | A | NNO
Fronius | SYMO 5.0-3-M | razsmernik | A | NNO
Fronius | SYMO 5.5-3-M | razsmernik | A | NNO
Fronius | SYMO 6.0-3-M | razsmernik | A | NNO
Fronius | SYMO 6.7-3-M | razsmernik | A | NNO
Fronius | SYMO 7.0-3-M | razsmernik | A | NNO
Fronius | SYMO 8.0-3-M | razsmernik | A | NNO
Fronius | SYMO 8.2-3-M | razsmernik | A | NNO
Fronius | SYMO 10.0-3-M | razsmernik | A, B | NNO, SNO
Fronius | SYMO 12.5-3-M | razsmernik | A, B | NNO, SNO
Fronius | SYMO 15.0-3-M | razsmernik | A, B | NNO, SNO
Fronius | SYMO 17.5-3-M | razsmernik | A, B | NNO, SNO
Fronius | SYMO 20.0-3-M | razsmernik | A, B | NNO, SNO
Fronius | SYMO GEN24 3.0 | razsmernik | A | NNO
Fronius | SYMO GEN24 4.0 | razsmernik | A | NNO
Fronius | SYMO GEN24 5.0 | razsmernik | A | NNO
Fronius | SYMO GEN24 3.0 Plus | razsmernik | A | NNO
Fronius | SYMO GEN24 4.0 Plus | razsmernik | A | NNO
Fronius | SYMO GEN24 5.0 Plus | razsmernik | A | NNO
Fronius | SYMO GEN24 6.0 | razsmernik | A | NNO
Fronius | SYMO GEN24 7.0 | razsmernik | A | NNO
Fronius | SYMO GEN24 8.0 | razsmernik | A | NNO
Fronius | SYMO GEN24 9.0 | razsmernik | A | NNO
Fronius | SYMO GEN24 10.0 | razsmernik | A | NNO
Fronius | SYMO GEN24 6.0 Plus | razsmernik | A | NNO
Fronius | SYMO GEN24 7.0 Plus | razsmernik | A | NNO
Fronius | SYMO GEN24 8.0 Plus | razsmernik | A | NNO
Fronius | SYMO GEN24 9.0 Plus | razsmernik | A | NNO
Fronius | SYMO GEN24 10.0 Plus | razsmernik | A | NNO
Fronius | SYMO Hybrid 3.0-3-S | hibridni razsmernik | A | NNO
Fronius | SYMO Hybrid 4.0-3-S | hibridni razsmernik | A | NNO
Fronius | SYMO Hybrid 5.0-3-S | hibridni razsmernik | A | NNO
Fronius | ECO 25.0-3-S | razsmernik | A, B | NNO, SNO
Fronius | ECO 27.0-3-S | razsmernik | A, B | NNO, SNO
Fronius | TAURO 50-3-D | razsmernik | A, B | NNO, SNO
Fronius | TAURO 50-3-P | razsmernik | A, B | NNO, SNO
Fronius | TAURO ECO 50-3-D | razsmernik | A, B | NNO, SNO
Fronius | TAURO ECO 50-3-P | razsmernik | A, B | NNO, SNO
Fronius | TAURO ECO 99-3-D | razsmernik | A, B | NNO, SNO
Fronius | TAURO ECO 99-3-P | razsmernik | A, B | NNO, SNO
Fronius | TAURO ECO 100-3-D | razsmernik | A, B | NNO, SNO
Fronius | TAURO ECO 100-3-P | razsmernik | A, B | NNO, SNO

## VARTA
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Varta | Flex storage E36 | HEE | A | NNO
Varta | Flex storage E80 | HEE | A | NNO
Varta | Flex storage E120 | HEE | A | NNO

## Ginlong
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Ginlong | Solis S5-GC30K | razsmernik | A, B | NNO
Ginlong | Solis 100K-5G | razsmernik | A, B | NNO
Ginlong | Solis 110K-5G | razsmernik | A, B | NNO
Ginlong | Solis S5-GR3P12K | razsmernik | A | NNO
Ginlong | Solis S5-GR3P13K | razsmernik | A | NNO
Ginlong | Solis S5-GR3P15K | razsmernik | A | NNO
Ginlong | Solis S5-GR3P17K | razsmernik | A | NNO
Ginlong | Solis S5-GR3P20K | razsmernik | A | NNO
Ginlong | Solis S5-GC50K | razsmernik | A,B | NNO, SNO
Ginlong | Solis S5-GC60K | razsmernik | A,B | NNO, SNO

## AISWEI
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Aiswei New Energy Technology | ASW 1000S-S | razsmernik | A | NNO
Aiswei New Energy Technology | ASW 1500S-S | razsmernik | A | NNO
Aiswei New Energy Technology | ASW 2000S-S | razsmernik | A | NNO
Aiswei New Energy Technology | ASW 3000S-S | razsmernik | A | NNO
Aiswei New Energy Technology | ASW 3000-S | razsmernik | A | NNO
Aiswei New Energy Technology | ASW 3680-S | razsmernik | A | NNO
Aiswei New Energy Technology | ASW 4000-S | razsmernik | A | NNO
Aiswei New Energy Technology | ASW 5000-S | razsmernik | A | NNO
Aiswei New Energy Technology | ASW 3000-T | razsmernik | A | NNO
Aiswei New Energy Technology | ASW 4000-T | razsmernik | A | NNO
Aiswei New Energy Technology | ASW 5000-T | razsmernik | A | NNO
Aiswei New Energy Technology | ASW 6000-T | razsmernik | A | NNO
Aiswei New Energy Technology | ASW 8K-LT-G2 | razsmernik | A | NNO
Aiswei New Energy Technology | ASW 10K-LT-G2 | razsmernik | A | NNO
Aiswei New Energy Technology | ASW 12K-LT-G2 | razsmernik | A | NNO
Aiswei New Energy Technology | ASW 13K-LT-G2 | razsmernik | A | NNO
Aiswei New Energy Technology | ASW 15K-LT-G2 | razsmernik | A | NNO
Aiswei New Energy Technology | ASW 17K-LT-G2 | razsmernik | A | NNO
Aiswei New Energy Technology | ASW 20K-LT-G2 | razsmernik | A | NNO
Aiswei New Energy Technology | ASW 30K-LT-G2 | razsmernik | A, B | NNO
Aiswei New Energy Technology | ASW 33K-LT-G2 | razsmernik | A, B | NNO
Aiswei New Energy Technology | ASW 36K-LT-G2 | razsmernik | A, B | NNO
Aiswei New Energy Technology | ASW 40K-LT-G2 | razsmernik | A, B | NNO
Aiswei New Energy Technology | ASW 45K-LT-G2 | razsmernik | A, B | NNO
Aiswei New Energy Technology | ASW 50K-LT-G2 | razsmernik | A, B | NNO
Aiswei New Energy Technology | ASW 8kH-T1 | hibridni razsmernik | A | NNO
Aiswei New Energy Technology | ASW 10kH-T1 | hibridni razsmernik | A | NNO
Aiswei New Energy Technology | ASW 12kH-T1 | hibridni razsmernik | A | NNO
Aiswei New Energy Technology | ASW80K-LT | razsmernik | A, B | NNO, SNO
Aiswei New Energy Technology | ASW100K-LT | razsmernik | A, B | NNO, SNO
Aiswei New Energy Technology | ASW110K-LT | razsmernik | A, B | NNO, SNO
Aiswei New Energy Technology | ASW 25K-LT-G3 | razsmernik | A, B | NNO
Aiswei New Energy Technology | ASW 27K-LT-G3 | razsmernik | A, B | NNO
Aiswei New Energy Technology | ASW 30K-LT-G3 | razsmernik | A, B | NNO
Aiswei New Energy Technology | ASW 33K-LT-G3 | razsmernik | A, B | NNO
Aiswei New Energy Technology | ASW 36K-LT-G3 | razsmernik | A, B | NNO
Aiswei New Energy Technology | ASW 40K-LT-G3 | razsmernik | A, B | NNO

## NINGBO DEYE
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Ningbo Deye | SUN-3.6K-SG03LP1-EU | hibridni razsmernik | A | NNO
Ningbo Deye | SUN-5K-SG03LP1-EU | hibridni razsmernik | A | NNO
Ningbo Deye | SUN-5K-SG04LP3-EU | hibridni razsmernik | A | NNO
Ningbo Deye | SUN-6K-SG04LP3-EU | hibridni razsmernik | A | NNO
Ningbo Deye | SUN-8K-SG04LP3-EU | hibridni razsmernik | A | NNO
Ningbo Deye | SUN-10K-SG04LP3-EU | hibridni razsmernik | A | NNO
Ningbo Deye | SUN-12K-SG04LP3-EU | hibridni razsmernik | A | NNO
NingBo Deye | SUN300G3-EU-230 | mikrorazsmernik | A | NNO
NingBo Deye | SUN400G3-EU-230 | mikrorazsmernik | A | NNO
NingBo Deye | SUN500G3-EU-230 | mikrorazsmernik | A | NNO
NingBo Deye | SUN600G3-EU-230 | mikrorazsmernik | A | NNO
NingBo Deye | SUN800G3-EU-230 | mikrorazsmernik | A | NNO
NingBo Deye | SUN1000G3-EU-230 | mikrorazsmernik | A | NNO
NingBo Deye | SUN1300G3-EU-230 | mikrorazsmernik | A | NNO
NingBo Deye | SUN1600G3-EU-230 | mikrorazsmernik | A | NNO
NingBo Deye | SUN1800G3-EU-230 | mikrorazsmernik | A | NNO
NingBo Deye | SUN2000G3-EU-230 | mikrorazsmernik | A | NNO
NingBo Deye | SUN-1K-G04P1-EU-AM1 | razsmernik | A | NNO
NingBo Deye | SUN-1.5K-G04P1-EU-AM1 | razsmernik | A | NNO
NingBo Deye | SUN-2K-G04P1-EU-AM1 | razsmernik | A | NNO
NingBo Deye | SUN-2.5K-G04P1-EU-AM1 | razsmernik | A | NNO
NingBo Deye | SUN-3K-G04P1-EU-AM1 | razsmernik | A | NNO
NingBo Deye | SUN-3K-G05-1-P | razsmernik | A | NNO
NingBo Deye | SUN-3K-G05-P | razsmernik | A | NNO
NingBo Deye | SUN-4K-G05-P | razsmernik | A | NNO
NingBo Deye | SUN-5K-G05-P | razsmernik | A | NNO
NingBo Deye | SUN-6K-G05-P | razsmernik | A | NNO
NingBo Deye | SUN-7K-G05-P | razsmernik | A | NNO
NingBo Deye | SUN-8K-G05-P | razsmernik | A | NNO
NingBo Deye | SUN-9K-G05-P | razsmernik | A | NNO
NingBo Deye | SUN-10K-G05-P | razsmernik | A | NNO
NingBo Deye | SUN-12K-G05-P | razsmernik | A | NNO
NingBo Deye | SUN-15K-G05-P | razsmernik | A | NNO
NingBo Deye | SUN-3K-G05 | razsmernik | A | NNO
NingBo Deye | SUN-4K-G05 | razsmernik | A | NNO
NingBo Deye | SUN-5K-G05 | razsmernik | A | NNO
NingBo Deye | SUN-6K-G05 | razsmernik | A | NNO
NingBo Deye | SUN-7K-G05 | razsmernik | A | NNO
NingBo Deye | SUN-8K-G05 | razsmernik | A | NNO
NingBo Deye | SUN-9K-G05 | razsmernik | A | NNO
NingBo Deye | SUN-10K-G05 | razsmernik | A | NNO
NingBo Deye | SUN-12K-G05 | razsmernik | A | NNO
NingBo Deye | SUN-15K-G05 | razsmernik | A | NNO
NingBo Deye | SUN-18K-G04 | razsmernik | A, B | NNO
NingBo Deye | SUN-20K-G04 | razsmernik | A, B | NNO
NingBo Deye | SUN-25K-G04 | razsmernik | A, B | NNO
NingBo Deye | SUN-30K-G04 | razsmernik | A, B | NNO
NingBo Deye | SUN-33K-G04 | razsmernik | A, B | NNO
NingBo Deye | SUN-35K-G04 | razsmernik | A, B | NNO
NingBo Deye | SUN-36K-G04 | razsmernik | A, B | NNO
NingBo Deye | SUN-30K-G03 | razsmernik | A, B | NNO
NingBo Deye | SUN-33K-G03 | razsmernik | A, B | NNO
NingBo Deye | SUN-35K-G03 | razsmernik | A, B | NNO
NingBo Deye | SUN-40K-G03 | razsmernik | A, B | NNO
NingBo Deye | SUN-50K-G03 | razsmernik | A, B | NNO
NingBo Deye | SUN-60K-G03 | razsmernik | A, B | NNO
NingBo Deye | SUN-70K-G03 | razsmernik | A, B | NNO
NingBo Deye | SUN-75K-G03 | razsmernik | A, B | NNO
NingBo Deye | SUN-80K-G03 | razsmernik | A, B | NNO
NingBo Deye | SUN-90K-G03 | razsmernik | A, B | NNO
NingBo Deye | SUN-100K-G03 | razsmernik | A, B | NNO
NingBo Deye | SUN-110K-G03 | razsmernik | A, B | NNO
Ningbo Deye | SUN-5K-SG01HP3-EU-AM2 | hibridni razsmernik | A | NNO
Ningbo Deye | SUN-6K-SG01HP3-EU-AM2 | hibridni razsmernik | A | NNO
Ningbo Deye | SUN-8K-SG01HP3-EU-AM2 | hibridni razsmernik | A | NNO
Ningbo Deye | SUN-10K-SG01HP3-EU-AM2 | hibridni razsmernik | A | NNO
Ningbo Deye | SUN-12K-SG01HP3-EU-AM2 | hibridni razsmernik | A | NNO
Ningbo Deye | SUN-15K-SG01HP3-EU-AM2 | hibridni razsmernik | A | NNO
Ningbo Deye | SUN-20K-SG01HP3-EU-AM2 | hibridni razsmernik | A | NNO
Ningbo Deye | SUN-25K-SG01HP3-EU-AM2 | hibridni razsmernik | A | NNO
Ningbo Deye | GB-S5K-EU | hibridni razsmernik | A | NNO
Ningbo Deye | GB-S6K-EU | hibridni razsmernik | A | NNO
Ningbo Deye | GB-S8K-EU | hibridni razsmernik | A | NNO
Ningbo Deye | GB-S10K-EU | hibridni razsmernik | A | NNO
Ningbo Deye | GB-S12K-EU | hibridni razsmernik | A | NNO
Ningbo Deye | GB-S15K-EU | hibridni razsmernik | A | NNO
Ningbo Deye | GB-S20K-EU | hibridni razsmernik | A | NNO
Ningbo Deye | GB-S25K-EU | hibridni razsmernik | A | NNO

## PIXII AS
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
PIXII AS | PowerShaper 3,3 kW/YY kWh | HEE | A | NNO
PIXII AS | PowerShaper 6,7 kW/YY kWh | HEE | A | NNO
PIXII AS | PowerShaper 10 kW/YY kWh | HEE | A | NNO
PIXII AS | PowerShaper 13,3 kW/YY kWh | HEE | A | NNO
PIXII AS | PowerShaper 16,7 kW/YY kWh | HEE | A | NNO
PIXII AS | PowerShaper 20 kW/YY kWh | HEE | A | NNO
PIXII AS | PowerShaper 23,3 kW/YY kWh | HEE | A | NNO
PIXII AS | PowerShaper 26,7 kW/YY kWh | HEE | A | NNO
PIXII AS | PowerShaper 30 kW/YY kWh | HEE | A | NNO
PIXII AS | PowerShaper 33,3 kW/YY kWh | HEE | A | NNO
PIXII AS | PowerShaper 36,7 kW/YY kWh | HEE | A | NNO
PIXII AS | PowerShaper 40 kW/YY kWh | HEE | A | NNO
PIXII AS | PowerShaper 43,3 kW/YY kWh | HEE | A | NNO
PIXII AS | PowerShaper 46,7 kW/YY kWh | HEE | A | NNO
PIXII AS | PowerShaper 50 kW/YY kWh | HEE | A | NNO

## GROWATT
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Shenzhen Growatt | SPH 4000TL3 BH-UP | hibridni razsmernik | A | NNO
Shenzhen Growatt | SPH 5000TL3 BH-UP | hibridni razsmernik | A | NNO
Shenzhen Growatt | SPH 6000TL3 BH-UP | hibridni razsmernik | A | NNO
Shenzhen Growatt | SPH 7000TL3 BH-UP | hibridni razsmernik | A | NNO
Shenzhen Growatt | SPH 8000TL3 BH-UP | hibridni razsmernik | A | NNO
Shenzhen Growatt | SPH 10000TL3 BH-UP | hibridni razsmernik | A | NNO
Shenzhen Growatt | SPH 3000TL BL-UP | hibridni razsmernik | A | NNO
Shenzhen Growatt | SPH 3600TL BL-UP | hibridni razsmernik | A | NNO
Shenzhen Growatt | SPH 4000TL BL-UP | hibridni razsmernik | A | NNO
Shenzhen Growatt | SPH 4600TL BL-UP | hibridni razsmernik | A | NNO
Shenzhen Growatt | SPH 5000TL BL-UP | hibridni razsmernik | A | NNO
Shenzhen Growatt | SPH 6000TL BL-UP | hibridni razsmernik | A | NNO

## Tigo Energy
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Tigo Energy | TSI-5K3D | hibridni razsmernik | A | NNO
Tigo Energy | TSI-6K3D | hibridni razsmernik | A | NNO
Tigo Energy | TSI-8K3D | hibridni razsmernik | A | NNO
Tigo Energy | TSI-10K3D | hibridni razsmernik | A | NNO
Tigo Energy | TSI-12K3D | hibridni razsmernik | A | NNO
Tigo Energy | TSI-15K3D | hibridni razsmernik | A | NNO

## Maitian Energy
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Maitian Energy | S700 | razsmernik | A | NNO
Maitian Energy | S1000 | razsmernik | A | NNO
Maitian Energy | S1500 | razsmernik | A | NNO
Maitian Energy | S2000 | razsmernik | A | NNO
Maitian Energy | S2500 | razsmernik | A | NNO
Maitian Energy | S3000 | razsmernik | A | NNO
Maitian Energy | S3300 | razsmernik | A | NNO
Maitian Energy | T3 | razsmernik | A | NNO
Maitian Energy | T4 | razsmernik | A | NNO
Maitian Energy | T5 | razsmernik | A | NNO
Maitian Energy | T6 | razsmernik | A | NNO
Maitian Energy | T8 | razsmernik | A | NNO
Maitian Energy | T10 | razsmernik | A | NNO
Maitian Energy | T12 | razsmernik | A | NNO
Maitian Energy | T15 | razsmernik | A | NNO
Maitian Energy | T17 | razsmernik | A | NNO
Maitian Energy | T20 | razsmernik | A | NNO
Maitian Energy | T25 | razsmernik | A | NNO

## Foxess
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Foxess | H3-5.0-E | hibridni razsmernik | A | NNO
Foxess | H3-6.0-E | hibridni razsmernik | A | NNO
Foxess | H3-8.0-E | hibridni razsmernik | A | NNO
Foxess | H3-10.0-E | hibridni razsmernik | A | NNO
Foxess | H3-12.0-E | hibridni razsmernik | A | NNO
Foxess | AC3-5.0-E | hibridni razsmernik | A | NNO
Foxess | AC3-6.0-E | hibridni razsmernik | A | NNO
Foxess | AC3-8.0-E | hibridni razsmernik | A | NNO
Foxess | AC3-10.0-E | hibridni razsmernik | A | NNO
Foxess | AC3-12.0-E | hibridni razsmernik | A | NNO
Foxess | T3-G3 | razsmernik | A | NNO
Foxess | T4-G3 | razsmernik | A | NNO
Foxess | T5-G3 | razsmernik | A | NNO
Foxess | T6-G3 | razsmernik | A | NNO
Foxess | T8-G3 | razsmernik | A | NNO
Foxess | T8(Dual)-G3 | razsmernik | A | NNO
Foxess | T10-G3 | razsmernik | A | NNO
Foxess | T10(Dual)-G3 | razsmernik | A | NNO
Foxess | T12-G3 | razsmernik | A | NNO
Foxess | T12(Dual)-G3 | razsmernik | A | NNO
Foxess | T15-G3 | razsmernik | A | NNO
Foxess | T17-G3 | razsmernik | A | NNO
Foxess | T20-G3 | razsmernik | A | NNO
Foxess | T23-G3 | razsmernik | A | NNO
Foxess | T25-G3 | razsmernik | A | NNO

## BlueSun Solar
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
BlueSun Solar | BSE6KH3 | hibridni razsmernik | A | NNO
BlueSun Solar | BSE8KH3 | hibridni razsmernik | A | NNO
BlueSun Solar | BSE10KH3 | hibridni razsmernik | A | NNO
BlueSun Solar | BSE12KH3 | hibridni razsmernik | A | NNO
BlueSun Solar | BSE15KH3 | hibridni razsmernik | A | NNO
BlueSun Solar | BSM8K-B | razsmernik | A | NNO
BlueSun Solar | BSM10K-B | razsmernik | A | NNO
BlueSun Solar | BSM12K-B | razsmernik | A | NNO
BlueSun Solar | BSM15K-B | razsmernik | A | NNO
BlueSun Solar | BSM17K-B | razsmernik | A | NNO
BlueSun Solar | BSM20K-B | razsmernik | A | NNO
BlueSun Solar | BSM22K-B | razsmernik | A | NNO
BlueSun Solar | BSM25K-B | razsmernik | A | NNO
BlueSun Solar | BSM30K-B | razsmernik | A | NNO
BlueSun Solar | BSM33K-B | razsmernik | A | NNO
BlueSun Solar | BSM100K-B | razsmernik | A, B | NNO
BlueSun Solar | BSM110K-B | razsmernik | A, B | NNO

## Kehua HEE
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Xiamen Kehua Digital Energy | iStoragE3 5K | HEE | A | NNO
Xiamen Kehua Digital Energy | iStoragE3 6K | HEE | A | NNO
Xiamen Kehua Digital Energy | iStoragE3 8K | HEE | A | NNO
Xiamen Kehua Digital Energy | iStoragE3 10K | HEE | A | NNO
Xiamen Kehua Digital Energy | iStoragE3 10K | HEE | A | NNO

## Kstar
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Shenzhen Kstar New Energy | E8KT | hibridni razsmernik | A | NNO
Shenzhen Kstar New Energy | E10KT | hibridni razsmernik | A | NNO
Shenzhen Kstar New Energy | E12KT | hibridni razsmernik | A | NNO

## Sicon SOCOMEC
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Sicom SOCOMEC | SUN-HES-MOD50 | inverter za HEE | A | NNO

## NGEN
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
NGEN | STAR-H3-5.0-E | hibridni razsmernik | A | NNO
NGEN | STAR-H3-6.0-E | hibridni razsmernik | A | NNO
NGEN | STAR-H3-8.0-E | hibridni razsmernik | A | NNO
NGEN | STAR-H3-10.0-E | hibridni razsmernik | A | NNO
NGEN | STAR-H3-12.0-E | hibridni razsmernik | A | NNO

## SofarSolar
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
Shenzhen SofarSolar | HYD 5KTL-3PH | hibridni razsmernik | A | NNO
Shenzhen SofarSolar | HYD 6KTL-3PH | hibridni razsmernik | A | NNO
Shenzhen SofarSolar | HYD 8KTL-3PH | hibridni razsmernik | A | NNO
Shenzhen SofarSolar | HYD 10KTL-3PH | hibridni razsmernik | A | NNO
Shenzhen SofarSolar | HYD 15KTL-3PH | hibridni razsmernik | A | NNO
Shenzhen SofarSolar | HYD 20KTL-3PH | hibridni razsmernik | A | NNO

## RENAC
Proizvajalec | Model | Vrsta opreme | Tip | Napetostni nivo priključitve
RENAC Power Technology | R3-30K | razsmernik | A, B | NNO
RENAC Power Technology | R3-36K | razsmernik | A, B | NNO
RENAC Power Technology | R3-40K | razsmernik | A, B | NNO
RENAC Power Technology | R3-50K | razsmernik | A, B | NNO